## Coversheet
Functional Assessment and Activity Monitoring Selection Matrix
Disclaimer
The information included in this paper is meant to assist care providers in the understanding and selection of functional assessment and activity monitoring solutions, but cannot possibly include all systems that may be available. Products mentioned in this paper serve as illustrative examples. Information about the functionalities and capabilities for this effort were provided by participating vendors of functional assessment and activity monitoring solutions. A few functional assessment and activity monitoring vendors chose not to participate. Functionalities and capabilities of listed functional assessment and activity monitoring products have not been verified, tested, independently evaluated or endorsed by LeadingAge or LeadingAge CAST. Please use this as general guidelines in understanding functionalities and examples of current functional assessment and activity monitoring systems. The functional assessment and activity monitoring matrix may help providers identify potential functional assessment and activity monitoring solutions that may meet their requirements, and is intended to help them target vendors to submit a Request for Proposal (RFP). Where appropriate, provider case studies were identified and published separately. However, providers are strongly advised to verify functionalities of the functional assessment and activity monitoring solutions prior to final selection through demonstrations, site visits, reference checking and other due diligence steps

## Biz Line-Care Applicability
Business Line/Care Applicability
Acute Care Settings
| Physicians' Offices | Emergency Department | Hospitals | Attending LTPAC Physician | Housing with Services | Home Health/Home Care | Hospice | Adult Day Care/Senior Centers | Assisted Living Facilities | Acute Rehab Facilities | Long-term Acute Care Hospitals | Long-term Care Rehab Facilities | Skilled Nursing Facilities | Intermediate Care Facilities | Memory Care Facility | Intellectual Disabilities/Mental Retardation/Developmental Disabilities (ID/MR/DD) Facilities | Continuing Care Retirement Communities (CCRC) | Program of All-Inclusive Care for the Elderly (PACE) | Accountable Care Organizations (ACO)/Integrated Delivery Networks (IDN) | Multiple Site Integration | Other (Please List)
ActivePERS www.biosensics.com | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
CarePredict www.carepredict.com | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Claris Companion www.clariscompanion.com | No | No | No | No | Yes | Yes | No | No | Yes | Yes | No | Yes | No | No | Yes | No | Yes | Yes | Yes | Yes | N/A
Curo www.meetcuro.com | No | No | No | No | Yes | Yes | No | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | No | No | N/A
EarlySense www.earlysense.com | No | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Home Health/Home Care - We are Active in Research Projects.
Healthsense www.healthsense.com | No | No | No | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anywhere, Anytime Device
iN2L REHAB http://in2l.com/ | No | No | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | N/A
Jintronix www.jintronix.com | No | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | N/A
K4Connect www.K4Connect.com | No | No | No | No | Yes | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | No | Yes | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Physical Therapist
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Physical Therapist
PointClickCare https://pointclickcare.com/ | No | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | N/A
Rcare www.rcareinc.com/ | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
StepWatch www.modushealth.com | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | N/A

## System Type
System Type: User Type from the Assessed Patient/Resident/Client/User's Perspective
| Mobile-Fixed | [5 empty] | Passive-Interactive |  |  |  |  | Single/Multi Assessed Patient/Resident/Client/User
| Wearable | Handheld | Sensors Embedded in Object(s) | Desktop Computer/ Appliance | Kiosk | Sensors Embedded in the Environment | Completely Passive: No Intentional Interaction with Sensors & No Input through User Interface Required | Quasi-Passive: No Intentional Interaction with Sensors, but Requires Input through User Interface | Quasi-Interactive: Requires Specific Intentional Interaction with Sensors, but No Input through User Interface | Fully Interactive: Requires Specific Interaction with Sensors, AND Requires Input through User Interface | Passive with User Interface; No input from User | Single Assessed Patient/Resident/Client/User | Multi-Assessed Patients/Residents/Clients/Users without Capacity to Distinguish Users | Multi-Assessed Patients/Residents/Clients/Users with Capacity to Distinguish Users: Yes (specify how: RFID, etc.)
ActivePERS www.biosensics.com | Yes | No | No | No | No | No | Yes | No | No | No |  | Yes | Yes | No
CarePredict www.carepredict.com | Yes | No | No | No | No | Yes | Yes | No | No | No |  | Yes | Yes | No
Claris Companion www.clariscompanion.com | No | No | No | Yes | Yes | Yes | No | Yes | No | No |  | Yes | Yes | No
Curo www.meetcuro.com | Yes | No | Yes | Yes | No | Yes | Yes | No | No | No |  | Yes | No | Yes; Individual Keychain Presence Sensor and/or Phone Identifier (app)
EarlySense www.earlysense.com | No | No | Yes | No | No | Yes | Yes | No | No | No |  | No | No | Yes, Unique Caregiver Assignment
Healthsense www.healthsense.com | No | No | No | Yes | No | Yes | Yes | Yes | Yes | No |  | Yes | Yes | Yes; Specific Sensors
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | Yes | No | No | Yes | No | Yes | Yes | No |  | Yes | Yes | No
iN2L REHAB http://in2l.com/ | No | No | No | Yes | Yes | No | No | Yes | Yes | Yes |  | Yes | No | Yes, User specific log in
Jintronix www.jintronix.com | No | No | Yes | Yes | Yes | No | No | No | No | Yes |  | Yes | Yes | Yes, Login Credentials
K4Connect www.K4Connect.com | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes |  | Yes | No | Yes; Patient ID
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes |  | Yes | Yes | Yes: Patient ID
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | No | Yes | No | No | No | No | Yes | Yes |  | Yes | Yes | No
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | Yes | Yes | Yes
Rcare www.rcareinc.com/ | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No |  | Yes | Yes | Yes; User Login
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | No | No | Yes | Yes | No | Yes | No |  | Yes | Yes | Yes; RFID
StepWatch www.modushealth.com | Yes | No | Yes | Yes | No | No | No | No | Yes | No |  | Yes | No | Yes; User ID
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No |  | Yes | Yes | Yes; ID

## Program Development
Program Development & Support Offered
| Program Development (Planning, Business Model Templates, Workflows, Change Management, etc.) | Care Staff Engagement | Clinician Engagement Services | Assessed Patient/Resident/Client/User Education | Assessed Patient/Resident/Client/User Engagement | Family Engagement | Other (Please List)
ActivePERS www.biosensics.com | Yes | Yes | Yes | Yes | No | Yes | N/A
CarePredict www.carepredict.com | Yes | Yes | Yes | Yes | No | Yes | N/A
Clairs Companion www.clariscompanion.com | Yes | Yes | No | No | Yes | Yes | N/A
Curo www.meetcuro.com | Yes | Yes | Yes | Yes | Yes | Yes | N/A
EarlySense www.earlysense.com | Yes | Yes | No | Yes | Yes | No | Advanced Management Tools
Healthsense www.healthsense.com | Yes | Yes | Yes | Yes | Yes | Yes | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | Yes | Yes | Yes | No | N/A
iN2L REHAB http://in2l.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Technical Support, Grant management , Tech Evaluation Tools, Clinical support, Funding Sources
Jintronix www.jintronix.com | Yes | Yes | Yes | Yes | Yes | No | N/A
K4Connect www.K4Connect.com | Yes | Yes | No | Yes | Yes | Yes | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | Yes | Yes | Yes | Yes | No | Data Analysis
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | Yes | Yes | Yes | No | Data Analysis
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Training, Videos and Webinars
Rcare www.rcareinc.com/ | No | Yes | No | Yes | Yes | No | N/A
RF Technologies CodeAlert www.rft.com | Yes | Yes | No | No | No | No | N/A
StepWatch www.modushealth.com | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | No | Yes | Yes | No | Corporate Mgmt

## ADLs
Activity of Daily Living (ADLs)
Transferring (to or from bed, chair, toilet or shower)
| Bathing |  | Eating |  |  | Dressing |  | Toileting |  |  | Ambulation |  | Grooming
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method
ActivePERS www.biosensics.com | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A |  | No | N/A
CarePredict www.carepredict.com | Yes | Wearable | Yes | Wearable |  | No | N/A | Yes | Wearable | Yes | Yes | Wearable | Yes | Wearable |  | Yes | Wearable
Clairs Companion www.clariscompanion.com | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Yes | Wearable Sensor | No | N/A |  | No | N/A
Curo www.meetcuro.com | No | N/A | Yes | Sensor on Fridge |  | No | N/A | Yes | Toilet Sensor | Yes | Yes | Motion Sensors | No | N/A |  | Yes | Motion Sensors
EarlySense www.earlysense.com | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A |  | No | N/A
Healthsense www.healthsense.com | No | N/A | Yes | Sensors in Kitchen |  | No | N/A | Yes | Toilet Flush Sensor | Yes | Yes | Motion Sensors | No | N/A |  | Yes | Bed and Chair Exit Sensors, Motion Sensors
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Wireless Temp & Motion | Yes | Wireless Food Tray Weight |  | Yes | Motion from Limb Sensors, followed by Sit-to-Stand Postural Change | Yes | Detect sitting | Yes | Yes | Detailed Gait-Analysis | Yes | Sensor on Hand/Arm |  | Yes | Detect Posture, Motion
iN2L REHAB http://in2l.com/ | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist | Yes | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist
Jintronix ww.jintronix.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Optical Motion-Capture | No | N/A |  | Yes | Optical Motion-Capture
K4Connect www.K4Connect.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Yes | Inertial Sensor and a variety of gait tests | No | N/A |  | No | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Yes | Inertial Sensor and TUG test | No | N/A |  | Yes | Inertial Sensor and TUG test - Measure Chair Transfer
PointClickCare https://pointclickcare.com/ | Yes | Reminders | Yes | Reminders |  | Yes | Reminders | Yes | Reminders and Tracking |  | Yes | Safety Checkings | Yes | Reminders |  | No | N/A
Rcare www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A |  | No | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | Yes | Motion, Door, or Check-in Btn | Yes | No | N/A | No | N/A |  | No | N/A
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Yes | Wearable Accelerometer | No | N/A |  | No | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | No | N/A | Yes | Sensors/ Tracking | Yes | Yes | Compliance | No | N/A |  | Yes | Pressure Sensors: Monitoring

## IADLs
Instrumental Activities of Daily Living (IADLs)
| Ability to use Telephone |  | Shopping |  |  | Food Preparation |  | Housekeeping/Cleaning |  |  | Laundry |  | Responsibility for Medication |  |  | Managing Money |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method
ActivePERS www.biosensics.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A
CarePredict www.carepredict.com | No | N/A | No | N/A |  | Yes | Wearable | Yes | Wearable |  | Yes | Wearable | No | N/A | Yes | No | N/A | N/A | N/A
Clairs Companion www.clariscompanion.com | Yes | Phone Interaction | No | N/A | No | No | N/A | No | N/A |  | No | N/A | Yes | Question/Response | Yes | No | N/A | Social Interaction | Computer Activity Monitor
Curo www.meetcuro.com | No | N/A | No | N/A | No | Yes | Fridge Sensor | No | N/A |  | Yes | Washing Machine Sensor | Yes | Medication Movement Sensor | Yes | No | N/A | Sleep | Bed Sensor
EarlySense www.earlysense.com | No | N/A | No | N/A | No | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | Bed and Chair | Bed Sensor and Chair Sensor - for: Early Detection of Deterioration and Trend Indication, Bed/Chair Exit, HAPU Prevention Protocols and Wandering Patients
Healthsense www.healthsense.com | Yes | Phone Calls | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | Sensor on Medication Cabinet | Yes | No | N/A | Getting out of house | Home/Away Algoritms
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Phone Sensor | Yes | Measure Distance, Lowing back, Standing, Into Car |  | Yes | Detect Reaching, Bending, Turn, Stand, Short Walk, Squating | Yes | Sensors on Limbs and Body for Stand, Bend, Turn, Walk/Stop, Reach |  | Yes | Arm/Chest/Leg sensors | Yes | Medication Cabinet | No | No | N/A | TV Use | Detect Sit, Hand motion, TV sensor
iN2L REHAB http://in2l.com/ | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist | No | Yes | Reported by Therapist | Computer/Tech Device Use | Reported by Therapist
Jintronix www.jintronix/com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
K4Connect www.K4Connect.com | Yes | Phone in tablet | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | Reminders |  | No | N/A | No | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | N/A | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | N/A | N/A
PointClickCare https://pointclickcare.com/ | Yes | Video Chat | No | N/A |  | Yes | Step by Step instructions | Yes | Step by Step instructions |  | Yes | Step by Step instructions | Yes | Reminders, Verification, Med Scan |  | Yes | Reminders and Step by Step | Yes | User definable
Rcare www.rcareinc.com/ | No | N/A | No | N/A | No | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | N/A | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | N/A | N/A
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | Yes | Sensor on Fridge | No | N/A |  | No | N/A | Yes | Medicine Cabinet Sensor | Yes | No | N/A | N/A | N/A

## Physical Activity
Physical Activity
| Overall Activity |  | Steps |  |  | Distance |  | Flights of Stairs |  |  | Gait Acceleration |  |  | Gait Speed |  |  | Step Length |  | Stride Length |  |  | Balance |  | Shuffling |  | Up and Go Test |  |  | Cadence |  | Sleep Stages |  | Sleep Length |  | Total Time in Bed |  | Active Calories |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method |  | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method
ActivePERS www.biosensics.com | Yes | Wearable Accelerometer | Yes | Wearable Accelerometer |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | N/A | N/A
CarePredict www.carepredict.com | Yes | Wearable | Yes | Wearable |  | Yes | Wearable | Yes | Wearable |  | Yes | Wearable |  | Yes | Wearable |  | Yes | Wearable | Yes | Wearable | Yes | No | N/A | Yes | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Wearable | Yes | Wearable | No | N/A | Standing, Turning, Sitting, Rocking | Wearable
Clairs Companion www.clariscompanion.com | Yes | Sensor, Social Activity | Yes | Wearable Accelerometer |  | Yes | Wearable Accelerometer | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A
Curo www.meetcuro.com | Yes | Motion Sensors | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | Yes | Bed Sensor | No | N/A | N/A | N/A
EarlySense www.earlysense.com | Yes | Motion Detection: Motion Level in Bed/Chair, Time in Bed/Chair, Bed Exit and HAPU Prevention Protocols | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | In the process of developing Sleep Application. | No | In the process of developing Sleep Application. | Yes | Bed and Chair Sensor | No | N/A | Bed and Chair | Contact-Free Sensor (Bed & Chair)
Healthsense www.healthsense.com | Yes | Complete System | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | Yes | Sensor Determines Restful/Restless | Yes | Bed Pad | Yes | Bed Pad | No | N/A | N/A | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Multiple Accel/Inclination sensors | Yes | Walk/Stair/Run/Jump; Highly Accurate |  | Yes | Wearable; Accuracy > 97% | Yes | Various Stairs for Different Subjects; Accuracy > 97%, |  | Yes | 22 gait parameters, High Accuracy, Wearable on 24/hr, Basically Anywhere, Anytime |  | Yes | Wearable; Accuracy > 96% |  | Yes | Wearable, every step; Accuraccy > 95%, | Yes | Wearable, Every Stride, Both Eldly and Patients Highly Accurate | Yes | Yes | Sensors on Chest, Waist, and Legs | Yes | Sensors on Chest, Leg/Foot, and Arm | Yes | Wearable, Accrate Timing of Every Up and Go. Duration & Frequency, Any Time period: 1min to a Few Days. |  | Yes | Wearable, Accuracy > 99%, angle & acceleraton | Yes | Sensors on Chest, Legs, Feet, Continuous Recording | Yes | Detect Lie Face Up/Down/Sides, Recline, Sit, Stand and Postural Changes Continusely Whole Night | Yes | Proximity Sensor | Yes | Continuous, Multi-Sensor, Calibrated by Whole-Room Calorimeter on Hundreds of Subjectes. More than 100 individual Models for Different People and Activities. | > 40 Types of Activities & Postures, Jump, Run. High Accuracy Validated by Peer-Reviewed Publications | Multi-sensor, 3-D, inclination, acceleration, gyros, NIH supported design & make, validated by Harvard U., Columbia U…
iN2L REHAB http://in2l.com/ | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist |  | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist | Yes | Yes | Reported by Therapist | Yes | Reported by Therapist | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | sit-stand; bed mob, UE/LE exercise, etc. | Reported by Therapist
Jintronix www.jintronix.com | Yes | Optical Motion-Capture | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | Yes | Optical Motion-Capture | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | - 30 second chair stand test - Range of Motion - Endurance - Strength - Functional Reach | Optical Motion-Capture
K4Connect www.K4Connect.com | Yes | Fitness Tracker | Yes | Fitness Tracker |  | Yes | Fitness Tracker | Yes | Fitness Tracker |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Bed Senros | Yes | Ben Sensor | Yes | Wearable | N/A | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A |  | Yes | N/A |  | Yes | Inertial Sensor |  | No | N/A | Yes | Inertial Sensor | Yes | No | Inertial Sensor | Yes | Inertial Sensor | No | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A | No | N/A | No | N/A | No | N/A | Comparison to reference norms | Inertial Sensor
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A |  | No | N/A |  | Yes | Inertial Sensor |  | No | N/A | Yes | Inertial Sensor | Yes | Yes | Inertial Sensor | Yes | Inertial Sensor | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A | No | N/A | No | N/A | No | N/A | Risk of Falls/Gait Impairment/Turning | Inertial Sensor
PointClickCare https://pointclickcare.com/ | Yes | Reminders | No | N?A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | Yes | Check ins | No | N/A | No | N/A
Rcare www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | Yes | Bed Pad | No | N/A | Time Spend in Bathroom | Motion Sensor
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | N/A | N/A
StepWatch www.modushealth.com | Yes | Wearable Accelerometer | Yes | Wearable Accelerometer |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | Yes | Wearable Accelerometer | No | N/A | No | N/A | No | N/A | No | N/A | StepWatch has 27 Metrics including Peak Performance Index | Wearable Accelerometer
Vigil Health Solutions Inc www.vigil.com | Yes | Pendant Accelerometer | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | Yes | Wearable Accelerometer |  | No | N/A | No | N/A | Yes | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Bed Sensor | Yes | Bed Sensor | No | N/A | N/A | N/A

## Other Parameters
Other Parameters
| Biometric | [16 empty] | Risk Assessments | [14 empty] | Environmental |  |  |  | Wellness
[33 empty] | Environmental Parameters (etc. High or Low temp) |  | Environmental Control (etc. turn on/off an appliance) |  |  |  |  | Health/Wellness Questionnaire
| Heart Rate |  | Respiration |  |  | Blood Pressure |  | Blood Oxygen |  |  | Weight |  |  | Fluid Intake |  | Other |  | Fall Detection |  |  | Fall Prevention |  |  | Pressure Ulcer Detection |  |  | Pressure Ulcer Prevention |  |  | Wander Management | [6 empty] | Daily Check-In |  |  |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method |  | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Please List: | Sensor(s)/Method
ActivePERS www.biosensics.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | Accelerometer |  | Yes | Accelerometer |  | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | N/A
CarePredict www.carepredict.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | Yes | Yes | Wearable |  | Yes | Wearable | No | N/A | Yes | Wearable |  | No | N/A | N/A
Clairs Companion www.clariscompanion.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | Accelerometer |  | No | N/A |  | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | Yes | Question/Response |  | Yes | Survey Questions | Question/Response
Curo www.meetcuro.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Motion Sensors |  | No | N/A |  | No | N/A | Yes | No | N/A |  | Yes | Temp. Sensor | No | N/A | No | N/A |  | No | N/A | N/A
EarlySense www.earlysense.com | Yes | Continuous and Contact-Free Sensor (Bed & Chair) | Yes | Continuous and Contact-Free Sensor (Bed & Chair) |  | No | N/A | Yes | SpO2 Sensor (Nonin) |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | 6 Levels of Bed Exit Sensitivity, Unique Night Protocol & Staff Response Time (Protocol Compliance) |  | No | N/A |  | Yes | Turn Protocols, Turn Verification (Protocol Compliance) | Yes | Yes | Bed Sensor indicating if the patient has not returned into bed within 5/15/30 minutes . |  | No | N/A | No | N/A | No | N/A |  | No | Trend Indication | Highlighting Vital Signs Trending Which Might Indicate Future Deterioration - Can be most beneficial in those cases in which the patient’s HR & RR values do not cross the defined thresholds.
Healthsense www.healthsense.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | Yes | Yes | Overnight Door Open Alert |  | No | N/A | No | N/A | Yes | Wiresless Sensor, Phone call, or Button Press |  | Yes | Automated Questions- customized | Telephone
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Both HR & ECG, Advanced HR Detection Algorithm | Yes | Thermist & Chest Displacement |  | Yes | Wireless BP Connection | Yes | Wireless Infrared |  | Yes | Wireless Scale |  | Yes | Wireless Mini Scale | Yes | Joint Angle, EMG, Foot Pressure | Yes | Multi-Sensor, Stumble Detection |  | Yes | Audio/Visual Alert after Detecting Stumble, Ground kicking |  | Yes | Precision Bed Motion |  | No | N/A | Yes | Yes | By Analyzing Irregular, Aimless Walking Pattern |  | Yes | Light & Temp Sensor on Device | No | N/A | Yes | Wireless Sensor |  | Yes | Postural Change, Balance, Walk Velocity and Heartrate | Multi-Sensor, Intelligent Detection
iN2L REHAB http://in2l.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Reported by Therapist |  | No | N/A |  | Yes | Reported by Therapist | Yes | No | N/A |  | No | N/A | No | N/A | Yes | Reported by Therapist |  | No | Cogntive/Physical Testing & Intervention | N/A
Jintronix www.jintronix.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Optical Motion-Capture |  | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Balance Test | Optical Motion-Capture
K4Connect www.K4Connect.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A |  | Yes | Thermostat, Auto Lights | Yes | Thermostat, Auto Lights | Yes | Bed pad, motion sensor |  | Yes | N/A | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | No |  | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | Gait Impairment | Sensor Based Identification of Gait Impairment
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Gait Test |  | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Gait Impairment Falls | Sensor Based Identification of Gait Impairment AGS/BGS Falls Questionnaire
PointClickCare https://pointclickcare.com/ | Yes | Wireless devicess | No | N/A |  | Yes | Wireless devicess | Yes | Wireless devicess |  | Yes | Wireless devicess |  | No | N/A | Yes | Blood Glucose | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | Wireless and Self reported |  | Yes | Custom Surveys | Tablet based
Rcare www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Pads/ Sensors |  | No | N/A |  | No | N/A | Yes | Yes | Wearable Tag |  | Yes | Temp. Sensor, Water Sensor | No | N/A | Yes | Multiple Methods |  | No | No | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Pressure Pads |  | No | N/A |  | No | N/A | Yes | Yes | RFID |  | No | N/A | Yes | Smoke & CO2 Detector | Yes | Motion or Button |  | No | N/A | N/A
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | Yes | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Wireless Scale |  | No | N/A | No | N/A | Yes | Bed Sensor |  | Yes | Bed Sensor |  | No | N/A |  | No | N/A | Yes | Yes | RFID |  | Yes | Temp Sensor | No | N/A | Yes | Motion/ Button/ Contact |  | No | N/A | N/A

## Sensor Hub Comm
Sensor to HUB Communication
Wireless
| Wired | Wi-Fi | ZigBee | X10 | Propriety Alarm Protocol | Bluetooth (No, Yes; Standard Bluetooth, Yes; Bluetooth LE, Yes; Both) | Other
ActivePERS www.biosensics.com | No | No | Yes | No | Yes | Yes; Bluetooth LE | N/A
CarePredict www.carepredict.com | Yes | Yes | No | No | No | Yes; Bluetooth LE | Cellular
Clairs Companion www.clariscompanion.com | No | No | No | No | No | Yes; Bluetooth LE | N/A
Curo www.meetcuro.com | Yes | Yes | Yes | No | No | No | N/A
EarlySense www.earlysense.com | Yes | No | No | No | No | No | N/A
Healthsense www.healthsense.com | No | Yes | No | No | No | Yes; Bluetooth LE | 433MHz
IDEEA® LifeGait™ System www.MiniSun.com | Yes | No | No | No | No | No | Proprietary wireless connections btw sensors and recorder.
iN2L REHAB http://in2l.com/ | No | No | No | No | No | No | N/A
Jintronix www.jintronix.com | Yes | No | No | No | No | No | N/A
K4Connect www.K4Connect.com | Yes | Yes | Yes | No | No | Yes; Both | Zwave, Thread, etc
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | No | No | Yes; Standard Bluetooth | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | No | No | Yes; Standard Bluetooth | N/A
PointClickCare https://pointclickcare.com/ | No | Yes | No | No | No | Yes; Both | NFC
Rcare www.rcareinc.com/ | No | Yes | No | No | Yes | No | NFC
RF Technologies CodeAlert www.rft.com | No | No | Yes | No | Yes | No | 900 MHz
StepWatch www.modushealth.com | Yes | No | No | No | No | No | USB to connected computer.
Vigil Health Solutions Inc www.vigil.com | Yes | No | Yes | No | Yes | Yes; Standard Bluetooth | NFC

## Front-End Interface Comm
Front-End Hardware Unit Patient/Client/Resident/User Interface & Communications
HUB Communications Modality (R=Required, P=Preferred, A=Available, N/A= Not Available/Adequate)
| Login Modality, Please list if applicable (e.g. scan card, PIN) | Touch Screen | Audible Prompts | Visual Prompts | Haptic Prompts | Low Vision Support | Customizable Questionnaires | Thresholds are Customizable | Branching Logic Based on User’s Responses | Plain Old Telephone System (POTS) Line | DSL Internet Connectivity | High-Speed Internet Connectivity | Wi-Fi Connectivity | Cellular Connectivity | Minimum Internet Connectivity Speed Required
ActivePERS www.biosensics.com | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | N/A | N/A | N/A | N/A | N/A | A | 512 Kbps
CarePredict www.carepredict.com | N/A | No | Yes | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | P | P | A | 512 Kbps
Clairs Companion www.clariscompanion.com | N/A | Yes | Yes | Yes | No | Yes | Yes | Yes | No | A | A | P | P | A | 2.5 Mbs
Curo www.meetcuro.com | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | A | A | A | N/A | 1 Mbs
EarlySense www.earlysense.com | N/A | Yes | Yes | Yes | N/A | No | N/A | Yes | N/A | N/A | N/A | N/A | A | N/A | 2 Mbs
Healthsense www.healthsense.com | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | A | A | 512 Kbps
IDEEA® LifeGait™ System www.MiniSun.com | N/A | N/A | Yes | Yes | N/A | No | Yes | Yes | Yes | N/A | A | A | N/A | N/A | 512 Kbps
iN2L REHAB http://in2l.com/ | PIN/ Passwords | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | N/A | A | P | P | A | Highest bandwidth requirement is Skype, requiring 1.5 mbps
Jintronix www.jintronix.com | Password | No | Yes | Yes | N/A | Yes | No | Yes | Yes | P | R | R | P | A | 1 Mbs
K4Connect www.K4Connect.com | N/A | Yes | Yes | Yes | No | No | Yes | No | No | N/A | R | P | R | A | .5mbs
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | PIN | Yes | N/A | Yes | N/A | N/A | No | N/A | N/A | N/A | N/A | P | P | P | Can operate in offline and online modes; 512 Kbps
Kinesis QTUG www.kinesishealthtech.com/qtug | PIN | Yes | N/A | Yes | N/A | N/A | No | N/A | N/A | N/A | N/A | P | P | P | Can operate in offline and online modes; 512 Kbps
PointClickCare https://pointclickcare.com/ | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | A | A | A | A | No minimum requirement
Rcare www.rcareinc.com/ | Password | Yes | No | No | No | No | No | Yes | No | A | A | A | P | A | 512 Kbps
RF Technologies CodeAlert www.rft.com | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | A | A | N/A | 100 Mbs/sec or Higher
StepWatch www.modushealth.com | N/A | No | No | Yes | No | No | No | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | Username/ Password | No | Yes | Yes | No | No | No | Yes | Yes | A | A | P | A | A | Optional, but 1Mbs preferred.

## Hardware-Software Front End
Hardware and Software Requirements - Front End
Mobile
| Minimun Processor Speed, Hard Drive Storage, RAM requirements, if any applicable | Operating System (OS) - Windows | Operating System (OS) - Apple | Operating System (OS) - Unix/Linux | Network Specifications | Wireless Specifications | Supported by modern browers (CSS3/HTML5) | Minimum Internet/Bandwidth Specifications | Miscellaneous Software/Applets Needed (i.e. Citrix) | Miscellaneous Reporting Specifications (i.e. Crystal Reports) | Scalability | Local Model | 3rd-Party Hosted Model | Software as a Service Model (SaaS) | Remote Access | Off-Line Functionality Support | Ability to Store/Handle Attachments (Insurance card, Historical Notes, etc.) | Available for Purchase | Available for Lease | Cellular Carriers that Support Solution (Please List) | Mobile OS - Android | Mobile OS - Blackberry | Mobile OS - iOS | Mobile OS - Unix/Linux | Mobile OS - Windows | Mobile-Optimized Interface (through dedicated app. Mobile optimized web pages) | Notes
ActivePERS www.biosensics.com | N/A | N/A | N/A | N/A | Cellular connectivity | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | Yes | N/A | N/A | Yes | N/A | Yes | Yes | Agnostic | Yes | No | Yes | No | No | No
CarePredict www.carepredict.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | N/A | Yes | Internet Connectivity | None | None | Yes | No | No | Yes | Yes | No | N/A | Yes | N/A | GSM Carriers | Yes | No | Yes | Yes | Yes | Yes
Clairs Companion www.clariscompanion.com | Agnostic | No | No | No | Internet Connectivity | Bluetooth | N/A | 2.5 Mbs | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Verizon | Yes | No | No | No | No | Yes
Curo www.meetcuro.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | N/A | Yes | Internet Connectivity | N/A | N/A | Yes | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Agnostic | Yes | No | Yes | No | Yes | Yes
EarlySense www.earlysense.com | N/A | No | No | Yes | Private Network | 802.11b/g/n | No | 2Mbps | Cygwin | PDF/CSV | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | Yes | Yes | No | Yes | No
Healthsense www.healthsense.com | Agnostic | Yes | Yes | Yes | Connectivity to HS WiFi network | Available | Yes | Internet Connectivity | None | Exporting, On-Demand, Schedule Reports | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Verizon | Yes | Yes | Yes | Yes | Yes | Yes
IDEEA® LifeGait™ System www.MiniSun.com | Any PC | Yes | No | No | Internet Connectivity | Included | Yes | 1Mbs | Provided | Included, also export to World, Excel… | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | N/A | N/A | N/A | N/A | N/A | Yes | No | Need a PC, Can Connect via Internet.
iN2L REHAB http://in2l.com/ | Hardware Provided | Yes | No | No | Internet Connectivity Preffered | 802.11 b,g,n | Yes | 1.5 mbps | Provided | N/A | Yes | Yes | N/A | No | Yes | Yes | No | Yes | No | N/A | No | No | No | No | No | No | We provide Hardware
Jintronix www.jintronix.com | Intel i3 or eqivalent, 6 MB RAM | Yes | No | No | Internet Connectivity | N/A | N/A | Internet Connectivity | PDF Reader | Exporting enabled | Yes | N/A | Yes | Yes | Yes | No | Yes | No | Yes | Agnostic | No | No | No | No | No | No
K4Connect www.K4Connect.com | Agnostic | Yes | Yes | No | Internet Connectivity | Various | Yes | Internet Connectivity | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | N/A | N/A | N/A | N/A | Offline or online modes available | Bluetooth | N/A | Offline or online modes available | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Ships with Dedicated Android Tablet and Sensors.
Kinesis QTUG www.kinesishealthtech.com/qtug | N/A | N/A | N/A | N/A | Offline or online modes available | Bluetooth | N/A | Offline or online modes available | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Ships with Dedicated Android Tablet and Sensors.
PointClickCare https://pointclickcare.com/ | Tablet supplied | N/A | N/A | N/A | Internet Connectivity | Wi-Fi & Celleluar | Yes | None | None | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes
Rcare www.rcareinc.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | WiFi | Yes | Internet Connectivity | N/A | Exporting Enabled | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | No | No | No | Yes
RF Technologies CodeAlert www.rft.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | WiFi | Yes | Internet Connectivity | N/A | Exporting enabled | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | No | No | No | Yes
StepWatch www.modushealth.com | Intel Processer | Yes | Yes | No | None | N/A | N/A | N/A | N/A | N/A | Yes | Yes | No | No | No | Yes | No | Yes | No | N/A | No | No | No | No | No | No
Vigil Health Solutions Inc www.vigil.com | 1GHz, 20GB, 1GB | Yes | No | Yes | Internet Connectivity | Wifi, 802.15.4 | Yes | Internet Connectivity | Citrix optional | Excel Optional | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes

## Front-End Support
Front-End Unit Support
| Educational Self-Management Materials: |  |  | Front-End Unit Multi-Language Support
| On-Screen Educational Self-Management Material | Self-Management Educational Audios | Self-Management Educational Videos | English | Spanish | Mandarin | Cantonese | Korean | Russian | French | German | Hindi | Urdu | Portuguese | Arabic | Hebrew | Other (please specify) | Remote Updates | Remote Configuration Capability
ActivePERS www.biosensics.com | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes
CarePredict www.carepredict.com | No | No | No | Yes | Yes | Yes | No | Yes | No | Yes | Yes | No | No | No | No | No | Additional Languages by Customer Request. | Yes | Yes
Clairs Companion www.clariscompanion.com | Yes | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional languages by customer request | Yes | Yes
Curo www.meetcuro.com | Yes | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
EarlySense www.earlysense.com | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
Healthsense www.healthsense.com | No | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
iN2L REHAB http://in2l.com/ | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
Jintronix www.jintronix.com | No | No | No | Yes | Yes | No | No | No | No | Yes | No | No | No | No | No | No | N/A | Yes | Yes
K4Connect www.K4Connect.com | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No |  | Yes | Yes
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional Languages May be Available upon Customer Request. | Yes | No
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional Languages May be Available upon Customer Request. | Yes | No
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Spanish coming soon | Yes | Yes
Rcare www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | No | No | No | No | No | Danish, Italian, Dutch | Yes | Yes
RF Technologies CodeAlert www.rft.com | Yes | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | No | Yes
StepWatch www.modushealth.com | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | No | No
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes

## Reports&PHR
Reports Access
Report Access provided to the Following External Parties:
| Customizable Alert Thresholds | Customizable Reports | Ability to Schedule Automatic Reports | Assessed Patient/Resident/Client/User’s Physician | Assessed Patient/Resident/Client/User’s Nurse/Other Licensed Clinician | Assessed Patient/Resident/Client/User | Care Manager/ Professional Caregiver | Home Care Staff | Family | Other (please specify)
ActivePERS www.biosensics.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
CarePredict www.carepredict.com | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
Clairs Companion www.clariscompanion.com | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
Curo www.meetcuro.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
EarlySense www.earlysense.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized
Healthsense www.healthsense.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized, Password Protection
iN2L REHAB http://in2l.com/ | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
Jintronix www.jintronix.com | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
K4Connect www.K4Connect.com | No | Yes | No | No | Yes | Yes | Yes | Yes | No
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Any Authorized Clinical Personnel
Kinesis QTUG www.kinesishealthtech.com/qtug | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Any Authorized Clinical Personnel
PointClickCare https://pointclickcare.com/ | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized
Rcare www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized
RF Technologies CodeAlert www.rft.com | Yes | Yes | No | No | Yes | No | Yes | Yes | No | Reports are available from the system interface.
StepWatch www.modushealth.com | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone that the user of the system wishes to share the report.
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized

## Alerts
Alerts
|  |  | Call Center Support |  | Alerts can be sent to the Following External Parties | [5 empty] | Alert Sending Modality
| Real-Time Alerts | Yes/No | Multiple Language Support | Assessed Patient/Resident/Client/User’s Physician | Assessed Patient/Resident/Client/User’s Nurse/Other Licensed Clinician | Assessed Patient/Resident/Client/User | Care Manager/Professional Caregiver | Home Care Staff | Family | Other (please specify) | Pager | Telephone (Voice Messages) | E-Mail | Text Message | Other (Please Specify)
ActivePERS www.biosensics.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | No | Yes | Yes | Yes | Wearable
CarePredict www.carepredict.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | No | No | Yes | Yes | Wearable; Alerts within System.
Clairs Companion www.clariscompanion.com | Yes; All | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized | No | No | Yes | Yes | CareDot Application, Web Console
Curo www.meetcuro.com | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services May Be Customized | No | No | Yes | Yes | Mobile Push Notifcations. Alerts Within System.
EarlySense www.earlysense.com | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Alert Services may be Customized | Yes | Yes | Yes | Yes | Central Display, Hallway Display - Visual and Sound
Healthsense www.healthsense.com | Yes; Emergency Only | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | No | Yes | Yes | No | Alerts within System.
IDEEA® LifeGait™ System www.MiniSun.com | No | No | No | No | No | Yes | No | No | No | Sound/Visual alert, may be Customized via Wireless Capability | No | No | Yes | Yes | Wearable with Sound and Graphic Display, Wireless Capable, Powerful CPU.
iN2L REHAB http://in2l.com/ | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | N/A
Jintronix www.jintronix.com | No | Yes | Yes | Yes | Yes | No | Yes | Yes | No | N/A | No | No | Yes | No | Alerts within system.
K4Connect www.K4Connect.com | No | Yes | No | No | No | No | No | No | No | N/A | No | No | No | No | alerts within system.
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | For use by Clinician Rather than Unsupervised by Patient.
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | For use by Clinician Rather than Unsupervised by Patient.
PointClickCare https://pointclickcare.com/ | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized | Yes | No | Yes | Yes | On screen alert log
Rcare www.rcareinc.com/ | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Mobile Devices
RF Technologies CodeAlert www.rft.com | Yes; All | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | Yes | Yes | Yes | Yes | Two-way radios, Smartphone App.
StepWatch www.modushealth.com | No | Yes | No | No | No | No | No | No | No | N/A | No | No | No | No | N/A
Vigil Health Solutions Inc www.vigil.com | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | No | Yes | No | Smartphone App.

## Interfacing
Interfacing, Integration and Add-Ons
| EHR (Electronic Health Record)/PHR (Personal Health Record) | Telehealth | Medication Adherence Monitoring Dispensers | Safety Monitoring Systems (e.g. Personal Emergency Response Systems (PERS)) | Printing Supported | Dashboard Views | Analytic Tools; Please list (e.g. Care Management, Predictive Analytics) | Explain Integration Modality, Please List (etc. Single Sign-On (SSO), LDAP) | Other (Please List)
ActivePERS www.biosensics.com | No | Yes; Implemented | No | Yes; Capable | Yes; Capable | No | Yes; Capable | N/A | N/A
CarePredict www.carepredict.com | Yes; Capable | Yes; Capable | No | Yes; Capable | No | Yes; Implemented | Yes; Predictive Analytics; Machine Learning | SSO | N/A
Clairs Companion www.clariscompanion.com | No | Yes; Implemented | No | Yes; Capable | No | Yes; Implemented | Yes; Care Management | N/A | N/A
Curo www.meetcuro.com | Yes, Capable | Yes, Upon Request | Yes, Upon Request | Yes, Upon Request | No | Yes; Capable | No | N/A | Motion, Temperature, Door, Directional, Proximity sensors
EarlySense www.earlysense.com | Yes; Capable | Yes; Capable | No | No | Yes; Implemented | Yes; Implemented | Yes; Daily Patient & Unit Reports, Individual & Team Response Times, Benchmark Analysis Reports | Single Sign-On | Handheld Device and Nurse Call System
Healthsense www.healthsense.com | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Implemented | Yes; Implemented | Yes; Care Management | N/A | Smoke Detection Integration
IDEEA® LifeGait™ System www.MiniSun.com | No | Yes; Capable | No | Yes; Capable | Yes; Implemented | Yes; Implemented | Yes; Charts, Graphs, Tables, Statistic Reports, Normal/Abnormal Ranges | N/A | Yes with request.
iN2L REHAB http://in2l.com/ | Yes; Capable | No | No | No | Yes; Capable | Yes; Capable | Yes, Usage Reports | Via Web Portal on Device | N/A
Jintronix www.jintronix.com | Yes; Capable | Yes; Implemented | Yes; Capable | No | Yes; Capable | Yes; Implemented | Yes; Care Management | Single Sign-On | N/A
K4Connect www.K4Connect.com | No | No | No | Yes; Implemented | Yes; Implemented | Yes; Implemented | SSO, end to end modular integration with new and legacy systems | SSO
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes; Capable | Yes; Capable | No | No | Yes; Capable | Yes; Implemented | Yes; Implemented | API | Data integration through API
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes; Capable | Yes; Capable | No | No | Yes; Capable | Yes; Implemented | Yes; Implemented | API | Data integration through API
PointClickCare https://pointclickcare.com/ | Yes; Implemented | Yes; Implemented | Yes; Capable | No | Yes; Implemented | Yes; Implemented | Yes; Care Management | N/A | Wide range of wireless health devices
Rcare www.rcareinc.com/ | Yes; Capable | No | No | Yes; Implemented | Yes; Implemented | Yes; Implemented | Yes; Metrics Reporting | Variable | Wander, Building System, Fire Alarm, Door Sensors, Pad Sensors, Data via API
RF Technologies CodeAlert www.rft.com | No | No | No | Yes; Capable | Yes; Implemented | Yes; Implemented | Yes; Care Time, Alarm Trends | LDAP available | Any Sensor with a Form C Relay.
StepWatch www.modushealth.com | Yes; Capable | No | No | No | Yes; Implemented | Yes; Implemented | Yes; Care Management | Single User per StepWatch | N/A
Vigil Health Solutions Inc www.vigil.com | No | No | No | Yes; Implemented | Yes; Implemented | Yes; Implemented | Yes; Care Management | Single Sign-On | Motion, Door, Telephone, Smoke Alarms, Fire Panel,

## Program Support
Program Support Services
| Equipment Delivery/Pick Up | Site/Home Installation | IT/Network Troubleshooting & Support | Front-End System Set-up | Front-End System Customization | Back-End System Set-up | Back-End System Customization | Onsite Staff Training | Online Staff Training | Onsite Assessed Patient/Resident/Client/User Training | Online Assessed Patient/Resident/Client/User Training | Equipment Cleaning | Equipment Refurbishing | Other (Please List)
ActivePERS www.biosensics.com | Yes | Yes | Yes | No | Yes; Template Based | No | No | Yes | Yes | No | No | Yes | Yes | N/A
CarePredict www.carepredict.com | No | No | No | Yes; No Template | No | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | No | N/A
Clairs Companion www.clariscompanion.com | Yes | No | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | No | No | N/A | N/A | Multiple devices supported, including BYOD
Curo www.meetcuro.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; No Template | Yes | Yes | Yes | Yes | No | Yes | N/A
EarlySense www.earlysense.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | No | Yes | No | Yes | No | No | No | Cusomer Data Archiving
Healthsense www.healthsense.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | No | No | Yes | Yes | Yes | No | No | No | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | No | Customized Options or Design Available.
iN2L REHAB http://in2l.com/ | Yes | Yes | Yes | Yes; Template Based | Yes; No Template | Yes; No Template | Yes; No Template | Yes | Yes | Yes | Yes | No | No | 3 year warranty and upgrade options
Jintronix www.jintronix.com | Yes | Yes | Yes | No | No | Yes; Template Based | No | No | Yes | No | No | No | No | N/A
K4Connect www.K4Connect.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | N/A | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes | Data Analysis and Reporting/ Healthcare IT Consulting
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | N/A | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes | Data Analysis and Reporting/ Healthcare IT Consulting
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | Yes | Yes | DIY or full service fulfillment with kitting, refurbising, cleaning, etc
Rcare www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | Yes; No Template | Yes; No Template | Yes; No Template | Yes; No Template | Yes | No | N/A | No | No | No | N/A
StepWatch www.modushealth.com | Yes | Yes | Yes | Yes; Template Based | No | No | No | Yes | Yes | No | Yes | Yes | No | N/A
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes; No Template | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | Yes | Remote Monitoring and Support

## Interop + Cert.
Interoperability, Interoperability Standards, Certification and API
| Type of Interoperability Supported (N=None, E= Export Data Only, I= Import Data Only, or B=Bi-Directional data import and export) | Supported Interoperability Standards |  | Back-End EHR/PHR Certification |  | Front-End System Certification | API
| Interoperability Supported (N=None, E= Export Data Only, I= Import Data Only, or B=Bi-Directional data import and export) | HL7 Functional Assessment Questionnaire Framework | Other (please list): | 2014 ONC-ATCB Certification (Complete (please provide link); Modular (please provide link); No) | 2015 ONC-ATCB Certification (please provide link) | Continua Health Alliance Certified | Application Program Interface (API) Available | API Notes: Please List Available API
ActivePERS www.biosensics.com | B | No | N/A | No | No | No | No | N/A
CarePredict www.carepredict.com | B | No | N/A | No | No | No | No | N/A
Clairs Companion www.clariscompanion.com | E | No | CSV | No | No | No | Yes | Custom API, contact Claris for details.
Curo www.meetcuro.com | B | No | N/A | No | No | No | Yes | REST API available for partners. Details upon request.
EarlySense www.earlysense.com | B | Yes | N/A | No | No | No | Yes | SOAP API. Our API are for integration with handheld devices and EMR.
Healthsense www.healthsense.com | B | No | N/A | No | No | No | No | N/A
IDEEA® LifeGait™ System www.MiniSun.com | E | No | N/A | No | No | No | No | N/A
iN2L REHAB http://in2l.com/ | E | No | N/A | No | No | No | No | No
Jintronix www.jintronix.com | E | Yes | N/A | No | No | No | No | N/A
K4Connect www.K4Connect.com | B | No | N/A | No | No | No | Yes
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | B | No | N/A | No | No | No | Yes | Contact for Details
Kinesis QTUG www.kinesishealthtech.com/qtug | B | No | N/A | No | No | No | Yes | Contact for Details
PointClickCare https://pointclickcare.com/ | B | No | N/A | No | No | No | Yes | Contact for catalogue
Rcare www.rcareinc.com/ | B | Yes | N/A | No | No | No | Yes | Provides a fully featured API via a RESTful web service, along with API documentation, development RCube instance, and technical support
RF Technologies CodeAlert www.rft.com | E | No | N/A | No | No | No | No | N/A
StepWatch www.modushealth.com | B | No | N/A | No | No | No | No | Data is only on local computer
Vigil Health Solutions Inc www.vigil.com | E | No | N/A | No | No | No | Yes | Cloud or Direct

## Care Supportability
Care Supportability
| Phone Support--No, Yes (limited hours), Yes (24 hours) | Web Support--No, Yes (limited hours), Yes (24 hours) | E-Mail Support | Listserv and/or Usergroup | Online Training | Onsite Training | Other (Please List)
ActivePERS www.biosensics.com | Yes (24 hours) | Yes (limited hours) | Yes | No | No | Yes | N/A
CarePredict www.carepredict.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Clairs Companion www.clariscompanion.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | No | N/A
Curo www.meetcuro.com | Yes (limited hours) | Yes (limited hours) | Yes | No | No | Yes | N/A
EarlySense www.earlysense.com | Yes (24 hours) | No | Yes | No | No | Yes | Quick Guides
Healthsense www.healthsense.com | Yes (24 hours) | No | Yes | No | Yes | Yes | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | No | N/A
iN2L REHAB http://in2l.com/ | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | N/A
Jintronix www.jintronix.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | No | N/A
K4Connect www.K4Connect.com | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | InApp Support
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
PointClickCare https://pointclickcare.com/ | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | Webinar
Rcare www.rcareinc.com/ | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes (24 hours) | No | No | No | No | Yes | N/A
StepWatch www.modushealth.com | Yes (limited hours) | No | Yes | No | Yes | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring

## Tech Supportability
Technical Supportability
Warranty Information
| Phone Support--No, Yes (limited hours), Yes (24 hours) | Web Support--No, Yes (limited hours), Yes (24 hours) | E-Mail Support | Listserv and/or Usergroup | Online Training | Onsite Training | Other (Please List) | Length of Product Warranty | Parts | Parts & Labor | Parts, and In-Field/On-Site Labor
ActivePERS www.biosensics.com | Yes (24 hours) | No | Yes | No | No | Yes | N/A | 1 year | N/A | N/A | N/A
CarePredict www.carepredict.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 1 Year | N/A | N/A | N/A
Clairs Companion www.clariscompanion.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | No | N/A | 1 Year | Yes | Yes | N/A
Curo www.meetcuro.com | Yes (limited hours) | Yes (limited hours) | Yes | No | No | Yes | N/A | Manufacturer Warranty | Yes | N/A | N/A
EarlySense www.earlysense.com | Yes (24 hours) | No | Yes | No | No | Yes | Quick Guides | 1 year and afterwards Support Contract | N/A | Yes | Yes
Healthsense www.healthsense.com | Yes (24 hours) | No | Yes | No | Yes | Yes | N/A | Length of Contract | Yes | N/A | N/A
IDEEA® LifeGait™ System www.MiniSun.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | No | Onsite Training at Special Request. | 1 year, Full Warranty | Yes | Yes | Yes
iN2L REHAB http://in2l.com/ | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes |  | 5 Years :Manufacturer Warranty Includes parts and labor. | 3 Years :Manufacturer Warranty includes parts and labor | 3 Years :Manufacturer Warranty - Includes parts and labor. iN2L will continue to provide labor upon warranty expiration as long as customer is currenly paying their subcription. | iN2L provides remote repair and brings the system back to our repairs department at no cost to the customer.
Jintronix www.jintronix.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 Years | Yes | Yes | No
K4Connect www.K4Connect.com | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | In App Support | Manufacturer Warranty | Manufacturer Warranty | N/A | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 years | Yes | Yes | No
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 years | Yes | Yes | No
PointClickCare https://pointclickcare.com/ | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | Manufacturer Warranty | Yes | Yes | N/A
Rcare www.rcareinc.com/ | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | 1 year | N/A | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes (24 hours) | No | No | No | No | No | N/A | 1 year | Yes | Yes | Yes
StepWatch www.modushealth.com | Yes (limited hours) | No | Yes | No | Yes | Yes | N/A | Manufacture Warranty | Yes | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring | 1 year | Yes | Yes | N/A

## Legal-Reg.
Legal/Regulatory/Cyberliability
| FDA Clearance/ Listing (Cleared, Listed (this category may include Medical Device Data System (MDDS)), Pending or None) | FDA Classification (Class I, Class II, etc.) | HITECH | HIPAA | Security - List HIPAA & HITECH Act Requirements Met | List Applicable Regulatory Requirements Met | Provide a Link to Company's Cyberliability Policy | List Any Other Legal Requirements | Provide link to Sample Contract
ActivePERS www.biosensics.com | None | N/A | No | No | All are met. | FCC | Available upon request | N/A | Available upon request
CarePredict www.carepredict.com | None | N/A | Yes | Yes | All are met. | FCC, CE | Available upon request | Record retention among others. | Available upon request
Clairs Companion www.clariscompanion.com | None | N/A | No | Yes | All are met. | N/A | Available upon request | N/A | Available upon request
Curo www.meetcuro.com | None | N/A | No | No | All are met. | N/A | Available upon request | N/A | Available upon request
EarlySense www.earlysense.com | Cleared | Class II | No | Yes | N/A | CE Mark, ISO 13485 | N/A | N/A | Available upon request
Healthsense www.healthsense.com | None | N/A | No | Yes | N/A | N/A | Available upon request | N/A | Available upon request
IDEEA® LifeGait™ System www.MiniSun.com | Listed | Exempt | No | Yes | All are met. | Regulations met | Available upon request | FDA GMP | Available upon request
iN2L REHAB http://in2l.com/ | None | N/A | No | No | All are met. | N/A | Available upon request | N/A | Available upon request
Jintronix www.jintronix.xom | Cleared | Unclassified | Yes | Yes | All are met. | Medicare and Medicaid Regulations Met | Available upon request | Meets federal record retention requirements | Available upon request
K4Connect www.K4Connect.com | None | N/A | No | No | N/A | N/A | Available upon request | N/A | Available upon request
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Listed | Class I | No | Yes | No PHI stored - HIPAA Compliant. | EN 60601, US QSR, EU MDD, Health Canada | http://www.kinesis.ie/privacy-policy/ | N/A | Available upon request
Kinesis QTUG www.kinesishealthtech.com/qtug | Listed | Class I | No | Yes | No PHI stored - HIPAA Compliant. | EN 60601, US QSR, EU MDD, Health Canada | http://www.kinesis.ie/privacy-policy/ | N/A | Available upon request
PointClickCare https://pointclickcare.com/ | None | N/A | No | Yes | All are met | None | Available upon request | Meets federal record retention requirements | Available upon request
Rcare www.rcareinc.com/ | Listed | N/A | No | Yes | All are met. | UL 1069 Ed. 7, UL 2560 | Available upon request | N/A | Available upon request
RF Technologies CodeAlert www.rft.com | None | N/A | No | Yes | Based on System Configuration. | UL 294, U L1069, UL 2560 | Available upon request | N/A | Available upon request
StepWatch www.modushealth.com | Listed | Class II, exempt | Yes | Yes | All are met. | FDA, CFR 820 | N/A | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | None | N/A | No | Yes | HIPAA | UL 1069, CSA-C22.2 No. 205-M1983 (R2004) | Available upon request | FCC, Industry Canada | Available upon request

## Hardware-Software Back End
Hardware and Software Requirements - Back End
Mobile
| Minimun Processor Speed, Hard Drive Storage, RAM requirements, if any applicable | Operating System (OS) - Windows | Operating System (OS) - Apple | Operating System (OS) - Unix/Linux | Network Specifications | Wireless Specifications | Supported by modern browers (CSS3/HTML5) | Minimum Internet/Bandwidth Specifications | Miscellaneous Software/Applets Needed (i.e. Citrix) | Miscellaneous Reporting Specifications (i.e. Crystal Reports) | Scalability | Local Model | 3rd-Party Hosted Model | Software as a Service Model (SaaS) | Remote Access | Off-Line Functionality Support | Ability to Store/Handle Attachments (Insurance card, Historical Notes, etc.) | Available for Purchase | Available for Lease | Cellular Carriers that Support Solution (Please List) | Mobile OS - Android | Mobile OS - Blackberry | Mobile OS - iOS | Mobile OS - Unix/Linux | Mobile OS - Windows | Mobile-Optimized Interface (through dedicated app. Mobile optimized web pages) | Notes
ActivePERS www.biosensics.com | Agnostic | N/A | N/A | N/A | N/A | Multiple Options | N/A | N/A | None | N/A | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | Yes
CarePredict www.carepredict.com | N/A | N/A | N/A | N/A | Internet Connectivity | WiFi | Yes | 1 Mbs | None | N/A | Yes | No | No | Yes | Yes | No | No | No | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Web-Based Clinical Care Access.
Clairs Companion www.clariscompanion.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | Any | Yes | 2.5 Mbs | None | N/A | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Verizon | Yes | No | Yes | No | No | Yes | Web Based Back end
Curo www.meetcuro.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | Agnostic | Yes | 1 Mbs | None | N/A | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Agnostic | Yes | No | Yes | No | Yes | Yes | Web-based clinical care access.
EarlySense www.earlysense.com | N/A | No | No | Yes | Private Network | 802.11 b/g/n | N/A | 2 Mbs | cygwin | N/A | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | Yes | Yes | No | Yes | No
Healthsense www.healthsense.com | Agnostic | Yes | Yes | Yes | Infrastructure Guide Available | 801.11 | Yes | N/A | None | N/A | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Verizon | Yes | Yes | Yes | Yes | Yes | Yes
IDEEA® LifeGait™ System www.MiniSun.com | Any PC | Yes | No | Yes | Internet Connectivity | Proprietary | Yes | 1Mbs | None | None | Yes | No | No | No | Yes | No | No | Yes | Yes | N/A | No | No | No | No | Yes | No
iN2L REHAB http://in2l.com/ | Browser Based | Yes | Yes | Yes | Internet Connectivity | 802.11 b/g/n | Yes | 1.5 Mbps | none | none | Yes | No | No | No | Yes | No | No | No | No | N/A | Yes | Yes | Yes | No | Yes | No | Web based portal for analytics, user management, and account access.
Jintronix www.jintronix.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | Agnostic | Yes | 1 Mbs | PDF Viewer | N/A | Yes | No | Yes | Yes | Yes | No | No | No | Yes | N/A | Yes | Yes | Yes | Yes | Yes | No | Web-based clinical care access.
K4Connect www.K4Connect.com | Avail upon request | Yes | Yes | Yes | Internet Connectivity | Available upon request | Yes | 0.5 Mbs | None | None | Yes | Yes | Yes | Yes | Yes | No | N/A | Yes | Yes | Multiple | Yes | No | Yes | No | Yes | Yes | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Can use Dedicated Tablet | N/A | N/A | N/A | Internet Connectivity Needed for Online Mode. | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | No | Yes | No | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Dedicated Android Tablet Device Stores Data Streamed via Bluetooth from Sensors.
Kinesis QTUG www.kinesishealthtech.com/qtug | Can use Dedicated Tablet | N/A | N/A | N/A | Internet Connectivity Needed for Online Mode. | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | No | Yes | No | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Dedicated Android Tablet Device Stores Data Streamed via Bluetooth from Sensors.
PointClickCare https://pointclickcare.com/ | Agnostic | N/A | N/A | N/A | Internet Connectivity | cellular (included) | Yes | No minimum | None | N/A | Yes | No | Yes | Yes | Yes | Yes | N/A | N/A | N/A | Agnostic | Yes | No | Yes | No | No | Yes | Web based clinical access
Rcare www.rcareinc.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | 802.11 b/g/n | Yes | 1 Mbs | None | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | Yes | Multiple | Yes | No | No | No | No | Yes
RF Technologies CodeAlert www.rft.com | Agnostic | Yes | No | No | Ethernet, Internet Optional | N/A | Yes | 100 Mbs/sec or higer | None | None | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes
StepWatch www.modushealth.com | N/A | Yes | Yes | No | N/A | N/A | N/A | N/A | None | None | Yes | N/A | N/A | N/A | No | Yes | No | Yes | No | N/A | No | No | No | No | No | No | Data is Viewed and Stored on Local Computer.
Vigil Health Solutions Inc www.vigil.com | As Supplied | Yes | No | Yes | Ethernet, Internet Optional | wifi, 802.15.4 | Yes | Internet optional | Citrix optional | Excel optional | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes

## Cos. Experience
Company's Experience and Viability
| Number of Years in Business | Release Date of Current Version | Number of Users (Regardless of setting) | Core Customer Base, Focus of Line of Business | Link/s to Additional Case Study/ies
ActivePERS www.biosensics.com | 1 | 2014-08-01 | N/A | N/A | None
CarePredict www.carepredict.com | 2 | 2015-08-01 | 600 | IL/ALF/Memory Care/SNF; Homecare non-skilled | None
Clairs Companion www.clariscompanion.com | 4 | 2015-09-01 | 2000 users | Independent living seniors and famiy members | None
Curo www.meetcuro.com | 2 | 2016-01-01 | 100 individual users | CCRCs, Homecare, PACE, CCRC Without Walls and Affordable Housing | None
EarlySense www.earlysense.com | 11 | 2014-01-01 | Up to 40 patients | Hospital, Rehab, SNF, Long Term Facilities | http://www.earlysense.com/clinical-evidence/selected-case-studies/
Healthsense www.healthsense.com | 9 | 2015-02-01 | 22000 Monitored Lives | Senior Living | www.healthsense.com
IDEEA® LifeGait™ System www.MiniSun.com | 15 | Jan. 2014 | Close to 1000 | Rehab, Elderly care, Chronic Disease, Joint & Spine | www.MiniSun.com
iN2L REHAB http://in2l.com/ | 18 yrs | Dec. 16 | 1 community using iN2L Rehab, Multiple communities are using the iN2L Engage product for Rehab services. | Skilled Rehab, AL, PACE program, Adult Day, Inpatient Rehab
Jintronix www.jintronix.com | 5 | January 2016 | 7000 individual users | IRFs, SNFs | Available upon request
K4Connect www.K4Connect.com | 4 | 1Q 2016 | Available upon request | Life Plan Community, Independent, Assisted, CCRC w/o Walls | Avail Upon Request
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | 4 | 2016-10-09 | Approx 20 users | Independent Living/Assisted living/Community Care/Rehabilitation | www.kinesishealthtech.com/research Futher case studies available upon request.
Kinesis QTUG www.kinesishealthtech.com/qtug | 4 | 2017-07-17 | Over 250 users | Independent Living/Assisted living/Community Care/Rehabilitation | www.kinesishealthtech.com/research Futher case studies available upon request.
PointClickCare https://pointclickcare.com/ | 17 | June 2017 | Available on request | LTC, SNF, Senrior Living, CCRC, Homecare | www.touchstreamsolutions.com
Rcare www.rcareinc.com/ | 10 | 2016-12-01 | Over 650 Communities/100,000 beds | Senior Living Communities, Varied | None
RF Technologies CodeAlert www.rft.com | 30 | 2016-12-01 | Over 10,000 Installations | Senior Living (IL, AL, SNF, Memory Care, CCRC, Adult Day Centers) | http://www.rft.com/Markets/Senior-Living
StepWatch www.modushealth.com | 18 | 2005 | over 500 sites | Research, clinical care, skilled nursing, assisted living, CCRC | Upon Request
Vigil Health Solutions Inc www.vigil.com | 18 | July 2015 | 453 sites/over 38,000 beds | CCRC, Assisted living, Independent Living, Skilled Nursing, Memory Care, palliative and Hospice | None

## Strengths+
Strengths, Areas for Improvement, Ongoing Development and References
| Strengths | Areas for Improvement | Ongoing Development | References
ActivePERS www.biosensics.com | • Patented and clinically validated technology • Advanced Medical Alert Solution | • Medical Alert • Telhealth | • Risk of Fall and Frailty Assessment based on the activities of daily living date | References are generally part of the RFP process.
CarePredict www.carepredict.com | • Wearable system that detects ADLs and tracks indoor location • No input from user; Medication & General reminders; • Functionality for care mangement | • Continue to enhance capabilities based on customer and market needs | •Detection of addiitonal ADLs. •Detection of precursors to specific disease states | References are generally part of the RFP process.
Clairs Companion www.clariscompanion.com | • Zero training for end users • Staged introduction model for adoption • Immediate engagement of end users | • Additional sensors • Broader functionality for clinicians | • CareDot trending • CareDot iOS application • Additional sensors | References provided on request
Curo www.meetcuro.com | •Consulting competence to assist in reaching outcomes •Attention to design, ease of install, mobile app component, caregiver workflow tools | •Extended capability for emergeny senarios (i.e fall dectection) •Proactive home automation (i.e auto changing themostat or lights on/off) | •Increased sensor diversity and data •Meaningful mobile alert development | References are generally part of the RFP process.
EarlySense www.earlysense.com | •Continuous and Contact-free – no on-body sensors and no user interaction required (compliance) | • Continue to enhance capabilities based on customer and market needs | • Individualized patient care - create new workflow standards for patient care management • Provide floor leaders with quality assurance and performance management tools • Drive evidence-based clinical decision making • Provide data to assist managers in optimizing time and prioritizing shift tasks | References are generally part of the RFP process.
Healthsense www.healthsense.com | •Passive •Demonstrated ROI/Proven Results •Customizable based on care needs | •Reporting aesthetics | •Additional monitoring areas •Additional hardware options | References are generally part of the RFP process.
IDEEA® LifeGait™ System www.MiniSun.com | • One & only that can detect most daily activities, posture/function with high accuracy, 24-hr around. •One & only that combines Function/Activity monitoring with accurate gait analysis and energy expenditure measurement in a small, wearable device • Standard modules for ECG/HR, EMG, foot pressure, breathing at low cost | • Reduce price greatly when quantity increase. • Continue to enhance capabilities based on customer and market needs. | • Connecting to smart phones wirelessly, add GPS • Data warehouse and call center integration | Peer-reviewed validation of IDEEA® by Clumbia U., Harvard U. UCLA… Email to MiniSun@comcast.net for more info.
iN2L REHAB http://in2l.com/ | • Availble on large touch screen interface/Simplified User Interface • Proprietary library of custom curated and licensed content focused to seniors • Hybrid Library of Cloudbased and locally hosted content, usable even when offline -Clinical rehab content for PT/OT/ST - supports intervention for ALL ability levels of physical and cognitive function | • Products are constantly evolving. iN2L works closely with customers to identify areas for improvement and strives to provide products which have invaluable impact for customers, staff members and most of all residents. | •Products are constantly evolving. iN2L works closely with customers to identify areas for improvement and strives to provide products which have invaluable impact for customers, staff members and most of all residents. | Available upon request.
Jintronix www.jintronix.com | • Engaging for patients • Modern, easy to use user interface • Evidence-driven rehab modules | • Cognitive activities and assessments | • Continually adding more content and modules • Continually adding more ability for clinicians to customize reoporting | References are generally part of the RFP process.
K4Connect www.K4Connect.com | •Integrated smart home, connected wellness and social enagement solution •Proven senior-centric app design (including companion family app) •Fully hosted, supported, and managed solution •Web-based analytics/content mgmt for staff | • Automated staff alert and notification system • Analytics visulaization engine currently limited to two data feeds • Internationalization | •Comprehensive Content Management (digital signage, newsletters, etc) •Expanded Home Care Capabilities •Enhanced Wellness Features •Enterprise Analytics & Reporting | References are available upon request
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | • Objective gait assessment • Identifcation of gait impairment by comparison with reference values • Supports multiple walking tasks: 6min walk, 25 foot walk etc | • EMR integration • Data interoperability • User management | • Integration of BP data •API for two-way back-up and restore via Wi-Fi/cellular connection • Web-portal for reporting and data analysis | Additional references available on request www.kinesishealthtech.com/research
Kinesis QTUG www.kinesishealthtech.com/qtug | • Objective Falls risk assessment/Objective Assessment of frailty • Identifcation of mobility impairment by comparison with reference values • Comprehensive mobility assessment/Integrated AGS/BGS falls questionnaire | • EMR integration • Data interoperability • User management | • Automatic prescription of exercise and intervention for patient self-monitoring and tracking • API for two-way back-up and restore via Wi-Fi/cellular connection • Web-portal for reporting and data analysis | Additional references available on request www.kinesishealthtech.com/research
PointClickCare https://pointclickcare.com/ | • Create personalized careplans to accommodate a wide range of conditions • Multi-user - makes it more economical to deploy compared to single user systems • Supports 4 categores of wireless health devices plus multiple gucometer models • Equally effective for people with DD/ID, TBI as well as age-related health conditions • System is deployed on cellular tablets and all back-end components are SaaS based making it very simple to rollout and use | • Care plan templates • Continue to expand clinician tools based on customer feedback | • Secure video • Care plan templates • Reporting and analytics | References are available upon request
Rcare www.rcareinc.com/ | • Get data on caregiver activities and time • Customizable Reporting • Integrated with full-featured Nurse Call • RESTful web-based API for ease on integration | • EHR Integration Expansion • Enterprise metrics - dashboard and reporting across multiple facilities for an organization | • Cellular gateway option • EHR Integration Expansion • Geoperimetering Pendant | References are generally part of the RFP process.
RF Technologies CodeAlert www.rft.com | • Aesthetically pleasing devices • Multiple sensors; configurable alerting • Integrated nurse call, passive activity monitoring, fall prevention and wander management | • Integration with 3rd party systems and EHRs | • Outdoor tracking capabilities • Automated tracking of ADL's and care planning | References are generally part of the RFP process.
StepWatch www.modushealth.com | • Only device that accurately detects steps in the most challanging gait • Provides objective outcome of walking function and RAC Audit protection • Reimbured by the Department of Veterans Affairs for use in patients that walk with a lower limb prosthesis | • Make smaller and improve appearance • Manufactuer cheaper • Make easier for clinician and admin to use | • Have prototype of StepWatch4 that uses bluetooth to transfer steps to mobile devices and to a cloud system for remote monitoring of patients / clients. • Major hospital partnerships | Over 324 peer-reviewed publications with StepWatch. Pubications can be provided for specific applications upon request
Vigil Health Solutions Inc www.vigil.com | • Scalable system for any mix of elder care levels • CCRC indoor and outdoor coverage • "Age in place" support | • Family notification | • Gait analysis and trend detection • Quality of sleep analysis | As part of the sales process