## Coversheet
Functional Assessment and Activity Monitoring Selection Matrix
Disclaimer
The information included in this paper is meant to assist care providers in the understanding and selection of functional assessment and activity monitoring solutions, but cannot possibly include all systems that may be available. Products mentioned in this paper serve as illustrative examples. Information about the functionalities and capabilities for this effort were provided by participating vendors of functional assessment and activity monitoring solutions. A few functional assessment and activity monitoring vendors chose not to participate. Functionalities and capabilities of listed functional assessment and activity monitoring products have not been verified, tested, independently evaluated or endorsed by LeadingAge or LeadingAge CAST. Please use this as general guidelines in understanding functionalities and examples of current functional assessment and activity monitoring systems. The functional assessment and activity monitoring matrix may help providers identify potential functional assessment and activity monitoring solutions that may meet their requirements, and is intended to help them target vendors to submit a Request for Proposal (RFP). Where appropriate, provider case studies were identified and published separately. However, providers are strongly advised to verify functionalities of the functional assessment and activity monitoring solutions prior to final selection through demonstrations, site visits, reference checking and other due diligence steps

## Biz Line-Care Applicability
Business Line/Care Applicability
Acute Care Settings
| Physicians' Offices | Emergency Department | Hospitals | Attending LTPAC Physician | Housing with Services | Home Health/Home Care | Hospice | Adult Day Care/Senior Centers | Assisted Living Facilities | Acute Rehab Facilities | Long-term Acute Care Hospitals | Long-term Care Rehab Facilities | Skilled Nursing Facilities | Intermediate Care Facilities | Memory Care Facility | Intellectual Disabilities/Mental Retardation/Developmental Disabilities (ID/MR/DD) Facilities | Continuing Care Retirement Communities (CCRC) | Program of All-Inclusive Care for the Elderly (PACE) | Accountable Care Organizations (ACO)/Integrated Delivery Networks (IDN) | Individual Consumer (B2C) | Multiple Site Integration | Other (Please List)
CarePredict www.carepredict.com | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Claris Healthcare www.clarishealthcare.com | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | No | No | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | Yes | N/A
Kinesis Balance www.kinesishealthtech.com/balance | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Older adult
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Physical Therapist
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Physical Therapist
Momo Medical www.momomedical.com | No | No | No | No | No | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No
PointClickCare https://pointclickcare.com/ | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | TBI
RCare Nurse Call www.rcareinc.com/ | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Temporary/Field Hospitals
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | Yes | No | Yes | No | No | No | No | No | Yes | N/A
StepWatch www.modushealth.com | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | Yes | N/A
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | Yes | N/A
Zemplee https://zemplee.com/ | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | N/A | N/A

## System Type
System Type: User Type from the Assessed Patient/Resident/Client/User's Perspective
| Mobile-Fixed | [5 empty] | Passive-Interactive |  |  |  |  | Single/Multi Assessed Patient/Resident/Client/User
| Wearable | Handheld | Sensors Embedded in Object(s) | Desktop Computer/ Appliance | Kiosk | Sensors Embedded in the Environment | Completely Passive: No Intentional Interaction with Sensors & No Input through User Interface Required | Quasi-Passive: No Intentional Interaction with Sensors, but Requires Input through User Interface | Quasi-Interactive: Requires Specific Intentional Interaction with Sensors, but No Input through User Interface | Fully Interactive: Requires Specific Interaction with Sensors, AND Requires Input through User Interface | Passive with User Interface; No input from User | Single Assessed Patient/Resident/Client/User | Multi-Assessed Patients/Residents/Clients/Users without Capacity to Distinguish Users | Multi-Assessed Patients/Residents/Clients/Users with Capacity to Distinguish Users: Yes (specify how: RFID, etc.)
CarePredict www.carepredict.com | Yes | Yes | No | No | No | Yes | Yes | No | No | No |  | Yes | Yes | Yes - individual wearable RFID - unique assignment
Claris Healthcare www.clarishealthcare.com | No | No | No | Yes | No | No | No | Yes | No | No |  | Yes | No | No
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | No | No | Yes | Yes | No | No | Yes | No | No |  | Yes | No | Yes, User specific log in
Kinesis Balance www.kinesishealthtech.com/balance | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes |  | Yes | Yes | No
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | Yes | No | No | No | No | No | No | Yes | Yes |  | Yes | Yes | Yes: Patient ID
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | No | Yes | No | No | No | No | Yes | Yes |  | Yes | Yes | Yes, User specific log in
Momo Medical www.momomedical.com | No | No | No | No | No | Yes | No | No | No | Yes |  | Yes | No | No
PointClickCare https://pointclickcare.com/ | No | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes |  | Yes | Yes | Yes; RFID, Barcode, by Schedule
RCare Nurse Call www.rcareinc.com/ | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No |  | Yes | Yes | Yes; User Login
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | No | No | Yes | Yes | No | Yes | No |  | Yes | Yes | Yes; RFID
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes | No | Yes | No | No | Yes | Yes | No | Yes | No |  | Yes | Yes | No
StepWatch www.modushealth.com | Yes | No | Yes | No | No | No | No | No | Yes | No |  | Yes | No | Yes; User ID
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No |  | Yes | Yes | Yes; ID
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | No | Yes | Yes | No | No | No | No | Yes | No |  | Yes | Yes | No
Zemplee https://zemplee.com/ | No | No | Yes | Yes | No | Yes | Yes | Yes | Yes | No |  | Yes | Yes | Yes, Tags

## Program Development
Program Development & Support Offered
| Program Development (Planning, Business Model Templates, Workflows, Change Management, etc.) | Care Staff Engagement | Clinician Engagement Services | Assessed Patient/Resident/Client/User Education | Assessed Patient/Resident/Client/User Engagement | Family Engagement | Other (Please List)
CarePredict www.carepredict.com | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Claris Healthcare www.clarishealthcare.com | Yes | Yes | Yes | Yes | Yes | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes | Yes | Yes | Yes | Yes | Yes | Technical Support, Grant management , Tech Evaluation Tools, Clinical support, Funding Sources
Kinesis Balance www.kinesishealthtech.com/balance | Yes | Yes | Yes | Yes | Yes | Yes | Data Analysis
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | Yes | Yes | Yes | Yes | No | Data Analysis
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | Yes | Yes | Yes | Yes | No | Data Analysis
Momo Medical www.momomedical.com | Yes | Yes | Yes | Yes | Yes | No | 24/7 support line
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Training, Videos and Webinars
RCare Nurse Call www.rcareinc.com/ | No | Yes | No | Yes | Yes | No | N/A
RF Technologies CodeAlert www.rft.com | Yes | Yes | No | Yes | Yes | No | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | Yes | No | Yes | Yes | Yes | N/A
StepWatch www.modushealth.com | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | No | Yes | Yes | No | Corporate Mgmt
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | Yes | Yes | Yes | Yes | No | N/A
Zemplee https://zemplee.com/ | Yes | Yes | Yes | Yes | Yes | Yes | N/A

## ADLs
Activity of Daily Living (ADLs)
Transferring (to or from bed, chair, toilet or shower)
| Bathing |  | Eating |  |  | Dressing |  | Toileting |  |  | Ambulation |  | Grooming
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method
CarePredict www.carepredict.com | Yes | Wearable | Yes | Wearable |  | No | N/A | Yes | Wearable |  | No | N/A | No | N/A |  | No | N/A
Claris Healthcare www.clarishealthcare.com | No | No | No | No |  | No | No | No | N/A |  | No | N/A | No | N/A |  | No | N/A
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | N/A | Yes | Reported by Therapist |  | No | N/A | No | N/A |  | Yes | Reported by Therapist | No | N/A |  | Yes | Reported by Therapist
Kinesis Balance www.kinesishealthtech.com/balance | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | Smartphone sensors or optional external wearable sensor | No | N/A |  | Yes | Smartphone sensors or external wearable sensor
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Inertial Sensor and a variety of gait tests | No | N/A |  | No | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Inertial Sensor and TUG test | No | N/A |  | Yes | Inertial Sensor and TUG test - Measure Chair Transfer
Momo Medical www.momomedical.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Door sensors and location identification
PointClickCare https://pointclickcare.com/ | Yes | Reminders & Alerts | Yes | Reminders & Alerts |  | Yes | Reminders & Alerts | Yes | Reminders & Alerts |  | Yes | Alerts for missed check-ins | Yes | Reminders |  | No | N/A
RCare Nurse Call www.rcareinc.com/ | Yes | NFC Tags | Yes | NFC Tags |  | Yes | NFC Tags | Yes | NFC Tags |  | Yes | NFC Tags | Yes | NFC Tags |  | Yes | NFC Tags
RF Technologies CodeAlert www.rft.com | Yes | Reminders | Yes | Reminders |  | Yes | Reminders | Yes | Motion, Door, or Check-in Btn |  | No | N/A | Yes | Reminders |  | No | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | N/A | No | N/A |  | No | N/A | Yes | Motion Detection, flush sensor |  | Yes | Pressure pad/Motion detection | No | N/A |  | Yes | Pressure pad/Motion detection
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Wearable Accelerometer | No | N/A |  | No | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | No | N/A | Yes | Sensors/ Tracking |  | Yes | Compliance | No | N/A |  | Yes | Pressure Sensors: Monitoring
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Sensor | No |  |  | Yes | Sensor
Zemplee https://zemplee.com/ | Yes | Moisture Sensors | Yes | Refrigerator Sensors |  | No | N/A | Yes | Flush Sensor/Motion Sensor |  | Yes | Deduced from Motion Sensors | No | N/A |  | Yes | Deduced from Motion Sensors

## IADLs
Instrumental Activities of Daily Living (IADLs)
| Ability to use Telephone |  | Shopping |  |  | Food Preparation |  | Housekeeping/Cleaning |  |  | Laundry |  | Responsibility for Medication |  |  | Managing Money |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method
CarePredict www.carepredict.com | No | N/A | No | N/A |  | Yes | Wearable | No | N/A |  | Yes | Wearable | No | N/A |  | No | N/A | N/A | N/A
Claris Healthcare www.clarishealthcare.com | Yes | Inbuilt audio/video call | Yes | Ability to add shopping apps |  | No | N/A | No | N/A |  | No | N/A | Yes | Amedication reminders |  | Yes | Ability to add money management apps | N/A | N/A
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | N/A | No | N/A |  | Yes | Reported by Therapist | No | N/A |  | No | N/A | No | N/A |  | Yes | N/A | Computer/Tech Device Use | Reported by Therapist
Kinesis Balance www.kinesishealthtech.com/balance | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
Momo Medical www.momomedical.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
PointClickCare https://pointclickcare.com/ | Yes | Video Chat | No | N/A |  | Yes | Step by Step instructions | Yes | Step by Step instructions |  | Yes | Step by Step instructions | Yes | Reminders, Alerting, Scaning, Verification |  | Yes | Reminders and Step by Step | Yes | User definable activities
RCare Nurse Call www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | Sensor on cabinet door |  | No | N/A | Leaving bed/chair, general movement | Pressure Pad/Motion detection
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | Yes | Sensor on Fridge | No | N/A |  | No | N/A | Yes | Medicine Cabinet Sensor |  | No | N/A | N/A | N/A
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Smart Device Use | End-User Application
Zemplee https://zemplee.com/ | Yes | Voice Response | No | N/A |  | Yes | Sensors on oven | No | N/A |  | No | N/A | Yes | Sensors on Pill box, API Integration with dispensing systems, where available |  | No | N/A | BedOOccupancy, Bed Exit, | Couch/Chair Sensor

## Physical Activity
Physical Activity
| Overall Activity |  | Steps |  |  | Distance |  | Flights of Stairs |  |  | Gait Acceleration |  | Gait Speed |  |  | Step Length |  | Stride Length |  |  | Balance |  | Shuffling |  | Up and Go Test |  |  | Cadence |  | Sleep Stages |  | Sleep Length |  | Total Time in Bed |  | Active Calories |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method
CarePredict www.carepredict.com | Yes | Wearable | Yes | Wearable |  | Yes | Wearable | Yes | Wearable |  | Yes | Wearable | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | N/A | Yes | Wearable | No | N/A | No | N/A
Claris Healthcare www.clarishealthcare.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | N/A | N/A
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | No | N/A |  | No | N/A | No | N/A |  | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | Yes | Reported by Therapist | Yes | Reported by Therapist |  | Yes | Reported by Therapist | No | N/A | No | N/A | No | N/A | No | N/A | sit-stand; bed mob, UE/LE exercise, etc. | Reported by Therapist
Kinesis Balance www.kinesishealthtech.com/balance | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Smartphone | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | Risk of Falls/Balance Impairment/Five Times Sit to Stand | Smartphone or Inertial Sensor
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A |  | Yes | N/A | Yes | Inertial Sensor |  | No | N/A | Yes | Inertial Sensor |  | No | Inertial Sensor | Yes | Inertial Sensor | No | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A | No | N/A | No | N/A | No | N/A | Comparison to reference norms | Inertial Sensor
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A |  | Yes | N/A | Yes | Inertial Sensor |  | No | N/A | Yes | Inertial Sensor |  | Yes | Inertial Sensor | Yes | Inertial Sensor | Yes | Inertial Sensor |  | Yes | Inertial Sensor | No | N/A | No | N/A | No | N/A | No | N/A | Risk of Falls/Gait Impairment/Turning | Inertial Sensor
Momo Medical www.momomedical.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | Yes | Momo BedSense | Yes | Momo BedSense | Yes | Momo BedSense | No | N/A | Time in same posture in Bed to prevent pressure ulcers | Momo BedSense
PointClickCare https://pointclickcare.com/ | Yes | Reminders | Yes | Manual Entry |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A | No | N/A
RCare Nurse Call www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | Yes | Bed Pad | No | N/A | No | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A | Yes | Bed Pad | No | N/A | N/A | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Wearable | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | Yes | Bed pad | Yes | Bed pad | Yes | Bed pad | No | N/A | Time in chair, general movement | Chair pad, Motion detection
StepWatch www.modushealth.com | Yes | Wearable Accelerometer | Yes | Wearable Accelerometer |  | Yes | Wearable Accelerometer with stride length calc at setup | No | N/A |  | No | N/A | Yes | Wearable Accelerometer with stride length calc at setup |  | No | N/A | Yes | Wearable Accelerometer with stride length calc at setup |  | No | N/A | No | N/A | No | N/A |  | Yes | Wearable Accelerometer | No | N/A | No | N/A | No | N/A | No | N/A | StepWatch has 19 Metrics including Peak Performance Index | Wearable Accelerometer
Vigil Health Solutions Inc www.vigil.com | Yes | Pendant Accelerometer | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | Wearable Accelerometer |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Bed Sensor | Yes | Bed Sensor | No | N/A | N/A | N/A
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | Table top Time of flight sensor | Yes | Table top Time of flight sensor |  | Yes | Table top Time of flight sensor | No | N/A |  | Yes | Table top Time of flight sensor | Yes | Table top Time of flight sensor |  | Yes | Table top Time of flight sensor | Yes | Table top Time of flight sensor |  | Yes | Table top Time of flight sensor | Yes | Table top Time of flight sensor | Yes | Table top Time of flight sensor |  | Yes | Table top Time of flight sensor | No | N/A | No | N/A | No | N/A | No | N/A | N/A | N/A
Zemplee https://zemplee.com/ | Yes | Deduced from Motion Sensors | Yes | Deduced from Motion Sensors, API integration with wearables |  | Yes | Deduced from Motion Sensors | Yes | Intent, with Confidence Level |  | No | N/A | Yes | Deduced from Motion Sensors |  | Yes | Deduced from Motion Sensors, API integration with wearables | Yes | Deduced from Motion Sensors, API integration with wearables |  | No | N/A | No | N/A | No | N/A |  | No | N/A | Yes | Bed Sensors | Yes | Bed Sensors | Yes | Bed Sensors | Yes | API integration with wearables | Risk of Fall, Deceasement | Sensors

## Other Parameters
Other Parameters
| Biometric | [16 empty] | Risk Assessments | [13 empty] | Environmental |  |  |  | Wellness
[32 empty] | Environmental Parameters (etc. High or Low temp) |  | Environmental Control (etc. turn on/off an appliance) |  |  |  |  | Health/Wellness Questionnaire
| Heart Rate |  | Respiration |  |  | Blood Pressure |  | Blood Oxygen |  |  | Weight |  |  | Fluid Intake |  | Other |  | Fall Detection |  |  | Fall Prevention |  |  | Pressure Ulcer Detection |  |  | Pressure Ulcer Prevention |  | Wander Management | [6 empty] | Daily Check-In |  |  |  | Other
| Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | List | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Yes/No | Sensor(s)/Method | Ambulation | Yes/No | Please List: | Sensor(s)/Method
CarePredict www.carepredict.com | Yes | Wearable | Yes | Connects to FDA-approved devices |  | Yes | Connects to FDA-approved devices | Yes | Wearable |  | Yes | Connects to FDA-approved devices |  | No | N/A | No | N/A | Yes | Wearable |  | Yes | Wearable |  | No | N/A |  | No | N/A | Yes | Wearable |  | Yes | Wearable | Yes | Voice services | Yes | Wearable |  | No | N/A | N/A
Claris Healthcare www.clarishealthcare.com | Yes | Monitor | Yes | Monitor |  | Yes | Monitor | Yes | Monitor |  | Yes | Monitor |  | Yes | Monitor | No | N/A | Yes | Monitor |  | Yes | Virtual exercises |  | Yes | Monitor |  | Yes | Monitor | No | N/A |  | Yes | Monitor | No | N/A | Yes | Through the tablet |  | Yes | N/A | N/A
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | N/A | No | N/A |  | No | N/A | Yes | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | Cogntive/Physical Testing & Intervention | Reported by therapist
Kinesis Balance www.kinesishealthtech.com/balance | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Balance test |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Questionnaire |  | Yes | Balance Impairment/ Falls prevention advice | Sensor Based Identification of Balance Impairment Falls Questionnaire Falls prevention advice
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | No |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | Gait Impairment | Sensor Based Identification of Gait Impairment
Kinesis QTUG www.kinesishealthtech.com/qtug | No | N/A | No | N/A |  | No | N/A | Yes | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Gait Test |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Gait Impairment Falls | Sensor Based Identification of Gait Impairment AGS/BGS Falls Questionnaire
Momo Medical www.momomedical.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Momo BedSense |  | No | N/A |  | Yes | Momo BedSense | Yes | Momo BedSense |  | No | N/A | No | N/A | No | N/A |  | No | N/A | N/A
PointClickCare https://pointclickcare.com/ | Yes | Wireless devicess | No | N/A |  | Yes | Wireless devicess | Yes | Wireless devicess |  | Yes | Wireless devicess |  | Yes | Reminders & Alerting | Yes | Manual Entry | Yes | Alert due to Missed Activity |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Wireless and Self reported |  | Yes | Custom Surveys | Tablet based
RCare Nurse Call www.rcareinc.com/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Pads/ Sensors |  | No | N/A |  | No | N/A | Yes | Wearable Tag |  | Yes | Temp. Sensor, Water Sensor, Smoke Detector | No | N/A | Yes | Multiple Methods |  | No | No | N/A
RF Technologies CodeAlert www.rft.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Pressure Pads |  | No | N/A |  | No | N/A | Yes | RFID |  | No | N/A | Yes | Smoke & CO2 Detector | Yes | Motion or Button |  | No | N/A | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | Yes | Pressure pad |  | Yes | Pressure Pad |  | No | N/A |  | Yes | Pressure pad | Yes | Pressure pad/Motion detection |  | Yes | Temp, ambient light, barometric pressure, humidity, | No | N/A | Yes | Button press, Pressure pad, Motion detection |  | No | Proprietary mental wellbeing check | TV engagement system
StepWatch www.modushealth.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | No | N/A |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | No | N/A | Yes | Motion |  | No | N/A | N/A
Vigil Health Solutions Inc www.vigil.com | No | N/A | No | N/A |  | No | N/A | No | N/A |  | Yes | Wireless Scale |  | No | N/A | No | N/A | Yes | Bed Sensor |  | Yes | Bed Sensor |  | No | N/A |  | No | N/A | Yes | RFID, Door Alarms, Window Screen Alarms |  | Yes | Temp, Smoke, CO2, Water Sensors | No | N/A | Yes | Motion/ Button/ Contact |  | No | N/A | N/A
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | N/A | No | N/A |  | No | N/A | No | N/A |  | No | N/A |  | No | N/A | No | N/A | No | N/A |  | Yes | Table top Time of flight sensor |  | No | N/A |  | No | N/A | No | N/A |  | No | N/A | Yes | Computer | No | N/A |  | Yes | BioFeedback Training | Table top Time of flight sensor
Zemplee https://zemplee.com/ | Yes | Bed Sensor | Yes | Bed sensor |  | Yes | BP Cuff | Yes | Pulse Oximeter |  | Yes | Wireless Scales |  | Yes | Deduced through Toilet flush Sensor | No | N/A | Yes | Deduced from Inactivity |  | No | N/A |  | Yes | Bed sensor |  | Yes | Bed Sensor | Yes | Deduced from Motion and other sensors |  | Yes | Temp. Sensor | Yes | Light Sensors | Yes | Reports |  | Yes | No | N/A

## Sensor Hub Comm
Sensor to HUB Communication
Wireless
| Wired | Wi-Fi | ZigBee | X10 | Propriety Alarm Protocol | Bluetooth (No, Yes; Standard Bluetooth, Yes; Bluetooth LE, Yes; Both) | Other
CarePredict www.carepredict.com | No | Yes | No | No | No | Yes; Bluetooth LE | N/A
Claris Healthcare www.clarishealthcare.com | No | Yes | No | No | No | Yes; Both | N/A
K4Connect www.K4Connect.com | Yes | Yes | Yes | No | No | Yes; Both | Zwave, Thread, etc
Kinesis Balance www.kinesishealthtech.com/balance | No | Yes | No | No | No | Yes; Standard Bluetooth | Bluetooth sensor is optional. WiFi pushes data to cloud from phone.
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | No | No | Yes; Standard Bluetooth | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | No | No | Yes; Standard Bluetooth | N/A
Momo Medical www.momomedical.com | Yes | Yes | No | No | No | No | Momo Mesh network
PointClickCare https://pointclickcare.com/ | No | No | No | No | No | Yes; Both | NFC / Camera
RCare Nurse Call www.rcareinc.com/ | Yes | Yes | No | No | Yes | No | NFC, Inovonics
RF Technologies CodeAlert www.rft.com | No | No | Yes | No | Yes | No | 900 MHz
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes | No | Yes | No | Yes | Yes; Bluetooth LE | Proprietary, Inovonics, and Bluetooth options available
StepWatch www.modushealth.com | No | Yes | No | No | No | Yes; Bluetooth LE | Bluetooth to mobile app and app pushes data to cloud
Vigil Health Solutions Inc www.vigil.com | Yes | No | Yes | No | Yes | Yes; Standard Bluetooth | NFC
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | Yes | No | No | No | No | N/A
Zemplee https://zemplee.com/ | No | Yes | No | No | Yes | Yes; Both | LTE

## Front-End Interface Comm
Front-End Hardware Unit Patient/Client/Resident/User Interface & Communications
HUB Communications Modality (R=Required, P=Preferred, A=Available, N/A= Not Available/Adequate)
| Login Modality, Please list if applicable (e.g. scan card, PIN) | Touch Screen | Audible Prompts | Visual Prompts | Haptic Prompts | Low Vision Support | Customizable Questionnaires | Thresholds are Customizable | Branching Logic Based on User’s Responses | Plain Old Telephone System (POTS) Line | DSL Internet Connectivity | High-Speed Internet Connectivity | Wi-Fi Connectivity | Cellular Connectivity | Minimum Internet Connectivity Speed Required
CarePredict www.carepredict.com | PIN/ Passwords for Staff Only | Yes | Yes | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | P | P | A | 512 Kbps
Claris Healthcare www.clarishealthcare.com | No login required | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | N/A | A | A | A | 1 Mbs
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | PIN/ Passwords | Yes | Yes | Yes | No | Yes | No | Yes | No | N/A | A | P | P | N/A | Highest bandwidth requirement is video chat, requiring 1.5 mbps
Kinesis Balance www.kinesishealthtech.com/balance | N/A | Yes | Yes | Yes | N/A | N/A | Yes | Yes | Yes | N/A | N/A | P | P | P | Can operate in offline and online modes; 512 Kbps
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | PIN | Yes | N/A | Yes | N/A | N/A | No | N/A | N/A | N/A | N/A | P | P | P | Can operate in offline and online modes; 512 Kbps
Kinesis QTUG www.kinesishealthtech.com/qtug | PIN | Yes | N/A | Yes | N/A | N/A | Yes | N/A | N/A | N/A | N/A | P | P | P | Can operate in offline and online modes; 512 Kbps
Momo Medical www.momomedical.com | Momo user account | Yes | Yes | Yes | Yes | No | No | Yes | No | N/A | N/A | N/A | R | N/A | 1 Mbs
PointClickCare https://pointclickcare.com/ | PIN or Always Logged In | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | N/A | N/A | A | N/A | A | Cellular built in - No minimum requirement
RCare Nurse Call www.rcareinc.com/ | Password | Yes | No | No | No | No | No | Yes | No | A | A | A | P | A | 512 Kbps
RF Technologies CodeAlert www.rft.com | Password/ or scan card | Yes | N/A | Yes | N/A | Yes | N/A | N/A | N/A | N/A | N/A | A | A | N/A | 100 Mbs/sec or Higher
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | n/a | No | No | No | No | No | No | No | No | A | N/A | R | A | A | 1Mbps
StepWatch www.modushealth.com | PIN | Yes | No | Yes | No | No | Yes | Yes | Yes | N/A | N/A | N/A | P | A | No minimum requirement
Vigil Health Solutions Inc www.vigil.com | Username/ Password/ PIN | Yes | Yes | Yes | No | No | No | Yes | Yes | A | A | P | A | A | Optional, but 1Mbs preferred.
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Username/Email Id; Password | No | Yes | Yes | No | No | No | No | Yes | N/A | P | P | R | N/A | 1Mbps
Zemplee https://zemplee.com/ | username, password | Yes | Yes | Yes | No | Yes | Yes | Yes | N/A | N/A | N/A | N/A | R | A | 1 Mbps

## Hardware-Software Front End
Hardware and Software Requirements - Front End
Mobile
| Minimun Processor Speed, Hard Drive Storage, RAM requirements, if any applicable | Operating System (OS) - Windows | Operating System (OS) - Apple | Operating System (OS) - Unix/Linux | Network Specifications | Wireless Specifications | Supported by modern browers (CSS3/HTML5) | Minimum Internet/Bandwidth Specifications | Miscellaneous Software/Applets Needed (i.e. Citrix) | Miscellaneous Reporting Specifications (i.e. Crystal Reports) | Scalability | Local Model | 3rd-Party Hosted Model | Software as a Service Model (SaaS) | Remote Access | Off-Line Functionality Support | Ability to Store/Handle Attachments (Insurance card, Historical Notes, etc.) | Available for Purchase | Available for Lease | Cellular Carriers that Support Solution (Please List) | Mobile OS - Android | Mobile OS - Blackberry | Mobile OS - iOS | Mobile OS - Unix/Linux | Mobile OS - Windows | Mobile-Optimized Interface (through dedicated app. Mobile optimized web pages) | Notes
CarePredict www.carepredict.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | 802.11b/g/n | Yes | Internet Connectivity | None | None | Yes | No | No | Yes | Yes | No | N/A | Yes | N/A | N/A | Yes | No | Yes | Yes | Yes | Yes
Claris Healthcare www.clarishealthcare.com | N/A | No | No | No | Internet Connectivity | Bluetooth | Yes | N/A | N/A | N/A | Yes | N/A | No | Yes | Yes | Yes | Yes | Yes | Yes | All major carrriers in US are supported | Yes | No | Yes | No | No | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Hardware Provided | Yes | No | No | Internet Connectivity Preffered | 802.11 b,g,n | N/A | 1.5 mbps | Provided | Provided (Portal) | Yes | Yes | N/A | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes | Options include provided hardware or device agnostic
Kinesis Balance www.kinesishealthtech.com/balance | Android phone | N/A | N/A | N/A | Offline or online modes available | Bluetooth | N/A | Offline or online modes available | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | N/A | Yes | No | Agnostic | Yes | No | No | No | No | Yes | Smartphone app with optional external sensor
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Tablet supplied | N/A | N/A | N/A | Offline or online modes available | Bluetooth | N/A | Offline or online modes available | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Ships with Dedicated Android Tablet and Sensors.
Kinesis QTUG www.kinesishealthtech.com/qtug | Tablet supplied | N/A | N/A | N/A | Offline or online modes available | Bluetooth | N/A | Offline or online modes available | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Ships with Dedicated Android Tablet and Sensors.
Momo Medical www.momomedical.com | N/A | N/A | N/A | N/A | Internet Connectivity | N/A | N/A | Internet Connectivity | N/A | N/A | Yes | N/A | N/A | Yes | Yes | Yes | N/A | No | Yes | N/A | Yes | No | Yes | No | Yes | Yes | Both webapp and phone app available
PointClickCare https://pointclickcare.com/ | Tablet supplied | N/A | N/A | N/A | Off line or on-line modes | Cellular | Yes | None | None | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes
RCare Nurse Call www.rcareinc.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | WiFi | Yes | Internet Connectivity | N/A | Exporting Enabled | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes
RF Technologies CodeAlert www.rft.com | Agnostic | Yes | Yes | Yes | Internet Connectivity | WiFi | Yes | Internet Connectivity | N/A | Exporting enabled | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | No | No | No | Yes
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Agnostic | Yes | Yes | Yes | Internet Connectivity | N/A | Yes | Internet Connectivity | N/A | N/A | N/A | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Contact for support | Yes | No | Yes | No | No | Yes
StepWatch www.modushealth.com | iPad | N/A | Yes | N/A | Internet Connectivity | WiFi & Bluetooth | N/A | Internet Connectivity | N/A | Exporting to CSV enabled | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes | We can provide phones/tablets
Vigil Health Solutions Inc www.vigil.com | 1GHz, 20GB, 1GB | Yes | Yes | Yes | Internet Connectivity | Wifi, 802.15.4 | Yes | Internet Connectivity | Citrix optional | Excel Optional | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Processor: 3GHz, Storage: 128 GB, RAM: 4 GB | Yes | No | No | Internet Connectivity | Wifi | Yes | Internet Connectivity | Samatra PDF,vlc media player |  | Yes | N/A | N/A | Yes | Yes | Yes | No | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes
Zemplee https://zemplee.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | Wi-Fi, Bluetooth | Yes | Internet Connectivity | PDF Reader | N/A | Yes | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | AT&T, Verizon, Sprint | Yes | No | Yes | N/A | N/A | Yes

## Front-End Support
Front-End Unit Support
| Educational Self-Management Materials: |  |  | Front-End Unit Multi-Language Support
| On-Screen Educational Self-Management Material | Self-Management Educational Audios | Self-Management Educational Videos | English | Spanish | Mandarin | Cantonese | Korean | Russian | French | German | Hindi | Urdu | Portuguese | Arabic | Hebrew | Other (please specify) | Remote Updates | Remote Configuration Capability
CarePredict www.carepredict.com | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | No | No | Yes | No | No | Additional Languages by Customer Request. | Yes | Yes
Claris Healthcare www.clarishealthcare.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | No | No | No | Yes |  | Yes | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | Some music and entertainment content in Spanish | Yes | Yes
Kinesis Balance www.kinesishealthtech.com/balance | Yes | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional Languages May be Available upon Customer Request. | Yes | No
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional Languages May be Available upon Customer Request. | Yes | No
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Additional Languages May be Available upon Customer Request. | Yes | No
Momo Medical www.momomedical.com | Yes | No | No | Yes | No | No | No | No | No | No | Yes | No | No | No | No | No | Dutch | Yes | Yes
PointClickCare https://pointclickcare.com/ | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
RCare Nurse Call www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | No | No | No | No | No | Danish, Italian, Dutch | Yes | Yes
RF Technologies CodeAlert www.rft.com | Yes | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | No | Yes
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes | No | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | On-prem console has multiple available languages (see left + Indonesian), web interface is English only | Yes | Yes
StepWatch www.modushealth.com | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | Can be ported to other languages as needed | Yes | Yes
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes
Zemplee https://zemplee.com/ | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | N/A | Yes | Yes

## Reports&PHR
Reports Access
Report Access provided to the Following External Parties:
| Customizable Alert Thresholds | Customizable Reports | Ability to Schedule Automatic Reports | Assessed Patient/Resident/Client/User’s Physician | Assessed Patient/Resident/Client/User’s Nurse/Other Licensed Clinician | Assessed Patient/Resident/Client/User | Care Manager/ Professional Caregiver | Home Care Staff | Family | Other (please specify)
CarePredict www.carepredict.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
Claris Healthcare www.clarishealthcare.com | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Report can be provided to the user. This is a decision that the caregiver needs to make
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | No | Yes | No | No | No | Yes | Yes | No | No | Dashboard analytics and reports are a component of the program.
Kinesis Balance www.kinesishealthtech.com/balance | Yes | No | No | No | No | No | No | No | No | Bulk reports available on request
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Any Authorized Clinical Personnel
Kinesis QTUG www.kinesishealthtech.com/qtug | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Any Authorized Clinical Personnel
Momo Medical www.momomedical.com | Yes | Yes | No | No | Yes | Yes | Yes | No | No | All care staff involved in the daily care of the resident
PointClickCare https://pointclickcare.com/ | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized
RCare Nurse Call www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Reports are available from the system interface.
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes | Yes | Yes | No | No | No | Yes | No | No | Desired information can be shared while remaining HIPAA compliant
StepWatch www.modushealth.com | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone Authorized
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | multiple level access control; HIPAA
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Access configurable
Zemplee https://zemplee.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized, also people with GPA

## Alerts
Alerts
|  |  | Call Center Support |  | Alerts can be sent to the Following External Parties | [5 empty] | Alert Sending Modality
| Real-Time Alerts | Yes/No | Multiple Language Support | Assessed Patient/Resident/Client/User’s Physician | Assessed Patient/Resident/Client/User’s Nurse/Other Licensed Clinician | Assessed Patient/Resident/Client/User | Care Manager/Professional Caregiver | Home Care Staff | Family | Other (please specify) | Pager | Telephone (Voice Messages) | E-Mail | Text Message | Other (Please Specify)
CarePredict www.carepredict.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | Yes | No | Yes | Yes | Wearable; Alerts within System.
Claris Healthcare www.clarishealthcare.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | No | Yes | Yes | Yes | Mobile app
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes | No | No | No | No | Yes | No | No | Yes | N/A | No | No | No | Yes | Notification within the system
Kinesis Balance www.kinesishealthtech.com/balance | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | For use Unsupervised by Patient.
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | For use by Clinician Rather than Unsupervised by Patient.
Kinesis QTUG www.kinesishealthtech.com/qtug | No | No | No | No | No | No | No | No | No | N/A | No | No | No | No | For use by Clinician Rather than Unsupervised by Patient.
Momo Medical www.momomedical.com | Yes; All | Yes | Yes | No | Yes | Yes | Yes | No | No |  | No | Yes | No | No | No bedside alerts, alerts go to the phones
PointClickCare https://pointclickcare.com/ | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Anyone authorized | No | No | Yes | Yes | On screen alert log
RCare Nurse Call www.rcareinc.com/ | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Mobile Devices
RF Technologies CodeAlert www.rft.com | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | Yes | Yes | Yes | Yes | Two-way radios, Smartphone App.
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes; All | No | No | No | No | No | Yes | No | No | Central station capabilites available | Yes | No | Yes | Yes | Mobile Application, Radios, On-site console
StepWatch www.modushealth.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Alert Services may be Customized | No | No | Yes | No | Smartphone app notifcations
Vigil Health Solutions Inc www.vigil.com | Yes; All | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | No | Yes | Yes | Smartphone App.
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | Yes | No | No | Yes | Yes | No | No | No |  | No | No | Yes | Yes | f
Zemplee https://zemplee.com/ | Yes; All | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | All authorized | Yes | Yes | Yes | Yes | Alert Monitoring Dashboard

## Interfacing
Interfacing, Integration and Add-Ons
| EHR (Electronic Health Record)/PHR (Personal Health Record) | Telehealth | Medication Adherence Monitoring Dispensers | Safety Monitoring Systems (e.g. Personal Emergency Response Systems (PERS)) | Printing Supported | Dashboard Views | Analytic Tools; Please list (e.g. Care Management, Predictive Analytics) | Explain Integration Modality, Please List (etc. Single Sign-On (SSO), LDAP) | Other (Please List)
CarePredict www.carepredict.com | Yes; Capable | Yes; Capable | No | Yes; Capable | Yes; Implemented | Yes; Implemented | Yes; Predictive Analytics; Machine Learning | SSO | N/A
Claris Healthcare www.clarishealthcare.com | Yes; Capable | Yes; Implemented | No | Yes; Capable | Yes; Capable | Yes; Implemented | Yes | N/A
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes; Capable | Yes; Capable | No | No | Yes; Implemented | Yes; capable | Yes; Reports and Dashboards | API, SSO | N/A
Kinesis Balance www.kinesishealthtech.com/balance | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Capable | Yes; Capable | API | Data integration through API
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes; Capable | Yes; Capable | No | No | Yes; Capable | Yes; Capable | Yes; Implemented | API | Data integration through API
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes; Implemented | Yes; Capable | No | No | Yes; Capable | Yes; Implemented | Yes; Implemented | API | Data integration through API
Momo Medical www.momomedical.com | Yes; Capable | No | No | Yes; Capable | No | Yes; Implemented | Yes; Care Management, historical insights | Single Sign-On
PointClickCare https://pointclickcare.com/ | Yes; Capable | Yes; Implemented | Yes; Implemented | No | Yes; Implemented | Yes; Implemented | Yes; Care Management | N/A | Wide range of wireless health devices
RCare Nurse Call www.rcareinc.com/ | Yes; Capable | No | No | Yes; Implemented | Yes; Implemented | Yes; Implemented | Yes; Metrics Reporting | Variable | Wander, Building System, Fire Alarm, Door Sensors, Pad Sensors, Fall Prevention, Data via API
RF Technologies CodeAlert www.rft.com | No | No | No | Yes; Capable | Yes; Implemented | Yes; Implemented | Yes; Care Time, Alarm Trends | LDAP available | Any Sensor with a Form C Relay.
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes; Capable | Yes; Capable | No | No | Yes; Capable | Yes; Implemented | Yes; Predictive Analytics | Single Sign-On | Motion, door monitoring, pressure pad/incontinence monitoring
StepWatch www.modushealth.com | Yes; Capable | Yes; Capable | No | No | Yes; Capable | Yes; Implemented | Yes; Care Management | Single User per StepWatch | N/A
Vigil Health Solutions Inc www.vigil.com | No | No | No | Yes; Implemented | Yes; Implemented | Yes; Implemented | Yes; Care Management | Single Sign-On | Motion, Door, Telephone, Smoke Alarms, Fire Panel, GPS Tracking, Amazon Echo, Google Home
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | No | No | No | No | Yes; Implemented | Yes; Implemented | N/A | N/A | N/A
Zemplee https://zemplee.com/ | Yes; Capable | Yes; Capable | Yes; Capable | No | Yes; Capable | Yes; Implemented | Yes; Care Management, Predictive Analytics | OAuth, Token, SSO, Restful API

## Program Support
Program Support Services
| Equipment Delivery/Pick Up | Site/Home Installation | IT/Network Troubleshooting & Support | Front-End System Set-up | Front-End System Customization | Back-End System Set-up | Back-End System Customization | Onsite Staff Training | Online Staff Training | Onsite Assessed Patient/Resident/Client/User Training | Online Assessed Patient/Resident/Client/User Training | Equipment Cleaning | Equipment Refurbishing | Other (Please List)
CarePredict www.carepredict.com | No | Yes | No | Yes; No Template | No | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | No | N/A
Claris Healthcare www.clarishealthcare.com | Yes | No | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | No | Yes | No | Yes | No | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | No | No | Yes | Yes | Yes | Yes | No | No | CEU's upon implementation, tailored customer support services, 7-day/week technical support
Kinesis Balance www.kinesishealthtech.com/balance | N/A | N/A | N/A | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes | Data Analysis and Reporting/ Healthcare IT Consulting
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes | N/A | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes | Data Analysis and Reporting/ Healthcare IT Consulting
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes | N/A | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | Yes | Data Analysis and Reporting/ Healthcare IT Consulting
Momo Medical www.momomedical.com | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | Yes; Template Based | No | Yes | Yes | Yes | Yes | No | Yes
PointClickCare https://pointclickcare.com/ | Yes | Yes | N/A | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | No | DIY or full service fulfillment, setup and training
RCare Nurse Call www.rcareinc.com/ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes | Yes | Yes | Yes; No Template | Yes; No Template | Yes; No Template | Yes; No Template | Yes | Yes | Yes | Yes | No | No | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes | Yes | Yes | No | No | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | No | No | No | Static front end
StepWatch www.modushealth.com | Yes | Yes | Yes | Yes; No Template | Yes; Capable | Yes; Implemented | Yes; Care Management | Yes | Yes | Yes | Yes | Yes | No | 2 Year Warranty and remote app updates
Vigil Health Solutions Inc www.vigil.com | Yes | Yes | Yes | Yes; No Template | Yes; Template Based | Yes; Template Based | Yes; Template Based | Yes | Yes | Yes | Yes | No | Yes | Remote Monitoring and Support
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes | Yes | Yes | Yes; No Template | Yes; No Template | Yes; No Template | Yes; No Template | Yes | Yes | Yes | Yes | No | Yes | N/A
Zemplee https://zemplee.com/ | Yes | Yes | Yes | Yes; Template Based | Yes; Template Based | No | Yes; Template Based | Yes | Yes | Yes | Yes | N/A | N/A | BYOD Integrations

## Interop + Cert.
Interoperability, Interoperability Standards, Certification and API
| Type of Interoperability Supported (N=None, E= Export Data Only, I= Import Data Only, or B=Bi-Directional data import and export) | Supported Interoperability Standards |  | Back-End EHR/PHR Certification |  | Front-End System Certification | API
| Interoperability Supported (N=None, E= Export Data Only, I= Import Data Only, or B=Bi-Directional data import and export) | HL7 Functional Assessment Questionnaire Framework | Other (please list): | 2014 ONC-ATCB Certification (Complete (please provide link); Modular (please provide link); No) | 2015 ONC-ATCB Certification (please provide link) | Continua Health Alliance Certified | Application Program Interface (API) Available | API Notes: Please List Available API
CarePredict www.carepredict.com | B | No | CSV, RESTAPI | No | No | No | Yes | REST API available for partners. Details upon request.
Claris Healthcare, Inc. www.clarishealthcare.com | B | Yes | N/A | No | No | No | Yes | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | B | No | CSV, API, SSO | No | No | No | No | Contact for Details
Kinesis Balance www.kinesishealthtech.com/balance | B | No | N/A | No | No | No | Yes | Contact for Details
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | B | No | N/A | No | No | No | Yes | Contact for Details
Kinesis QTUG www.kinesishealthtech.com/qtug | B | No | N/A | No | No | No | Yes | Contact for Details
Momo Medical www.momomedical.com | E | No | N/A | No | No | No | Yes | https://connect.production.momomedical.com/docs/
PointClickCare https://pointclickcare.com/ | B | No | N/A | No | No | No | Yes | Contact for catalogue
RCare Nurse Call www.rcareinc.com/ | B | Yes | N/A | No | No | No | Yes | Provides a fully featured API via a RESTful web service, along with API documentation, development RCube instance, and technical support
RF Technologies CodeAlert www.rft.com | E | No | N/A | No | No | No | No | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | E | No | N/A | No | No | No | Yes | Contact for information
StepWatch www.modushealth.com | B | No | HL7 FIHR | No | No | No | No | Custom Cloud
Vigil Health Solutions Inc www.vigil.com | B | No | N/A | No | No | No | Yes | Cloud or Direct
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | N | No | N/A | No | No | No | No | N/A
Zemplee https://zemplee.com/ | B | No | N/A | no | No | No | Yes | N/A

## Care Supportability
Care Supportability
| Phone Support--No, Yes (limited hours), Yes (24 hours) | Web Support--No, Yes (limited hours), Yes (24 hours) | E-Mail Support | Listserv and/or Usergroup | Online Training | Onsite Training | Other (Please List)
CarePredict www.carepredict.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Claris Healthcare, Inc. www.clarishealthcare.com | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | No
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Kinesis Balance www.kinesishealthtech.com/balance | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
Momo Medical www.momomedical.com | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | In app tutorials
PointClickCare https://pointclickcare.com/ | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | Webinar
RCare Nurse Call www.rcareinc.com/ | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes (24 hours) | Yes (24 hours) | Yes | No | No | Yes | N/A
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A
StepWatch www.modushealth.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring
Vigil Health Solutions Inc www.vigil.com | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes (limited hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A
Zemplee https://zemplee.com/ | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | n/A

## Tech Supportability
Technical Supportability
Warranty Information
| Phone Support--No, Yes (limited hours), Yes (24 hours) | Web Support--No, Yes (limited hours), Yes (24 hours) | E-Mail Support | Listserv and/or Usergroup | Online Training | Onsite Training | Other (Please List) | Length of Product Warranty | Parts | Parts & Labor | Parts, and In-Field/On-Site Labor
CarePredict www.carepredict.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 1 Year | N/A | N/A | N/A
Claris Healthcare, Inc. www.clarishealthcare.com | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | 1 Yr Manufacturer | Yes | No | No
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | Live and recorded webinars | 3 Years :Manufacturer Warranty Includes parts and labor. | Yes | Yes | Yes
Kinesis Balance www.kinesishealthtech.com/balance | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 years | Yes | Yes | No
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 years | Yes | Yes | No
Kinesis QTUG www.kinesishealthtech.com/qtug | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 2 years | Yes | Yes | No
Momo Medical www.momomedical.com | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | Free replacement of broken devices | Yes, spares provided and free replacement for contract duration | N/A | N/A
PointClickCare https://pointclickcare.com/ | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | Webinar | Manufacturer Warranty | Yes using a hardware partner | Yes- through hardware partner | N/A
RCare Nurse Call www.rcareinc.com/ | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | 1 year | N/A | Yes | N/A
RF Technologies CodeAlert www.rft.com | Yes (24 hours) | Yes (24 hours) | Yes | No | Yes | Yes | N/A | 1 year | Yes | Yes | Yes
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | N/A | 1 year, Evergreen program available | Yes | No | No
StepWatch www.modushealth.com | Yes (limited hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring | 2 years | Yes | Yes | No
Vigil Health Solutions Inc www.vigil.com | Yes (24 hours) | Yes (limited hours) | Yes | No | Yes | Yes | Remote Monitoring | 1 year | Yes | Yes | Yes
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Yes (limited hours) | Yes (limited hours) | No | No | Yes | Yes | N/A | SaaS | SaaS | SaaS | SaaS
Zemplee https://zemplee.com/ | Yes (limited hours) | Yes (limited hours) | Yes | Yes | Yes | Yes | N/A | Manufacturer Warranty | Yes | Yes | Yes

## Legal-Reg.
Legal/Regulatory/Cyberliability
| FDA Clearance/ Listing (Cleared, Listed (this category may include Medical Device Data System (MDDS)), Pending or None) | FDA Classification (Class I, Class II, etc.) | HITECH | HIPAA | Security - List HIPAA & HITECH Act Requirements Met | List Applicable Regulatory Requirements Met | Provide a Link to Company's Cyberliability Policy | List Any Other Legal Requirements | Provide link to Sample Contract
CarePredict www.carepredict.com | None | N/A | Yes | Yes | All are met. | FCC | Available upon request | Record retention among others. | Available upon request
Claris Healthcare, Inc. www.clarishealthcare.com | Cleared | Cleared | Class 1 | Yes | Yes | All are met. | NA | Available upon request | Meets federal record retention requirements
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | N/A | N/A | N/A | N/A | No PHI stored - HIPAA Compliant. | N/A | Available upon request | N/A | Available upon request
Kinesis Balance www.kinesishealthtech.com/balance | Listed | Class I | No | Yes | No PHI stored - HIPAA Compliant. | EN 60601, US QSR, EU MDR, | http://www.kinesis.ie/privacy-policy/ | N/A | Available upon request
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Listed | Class I | No | Yes | HIPAA Compliant. | EN 60601, US QSR, EU MDR, Health Canada | http://www.kinesis.ie/privacy-policy/ | N/A | Available upon request
Kinesis QTUG www.kinesishealthtech.com/qtug | Listed | Class I | No | Yes | HIPAA Compliant. | EN 60601, US QSR, EU MDR, Health Canada | http://www.kinesis.ie/privacy-policy/ | N/A | Available upon request
Momo Medical www.momomedical.com | None | N/A | No | No | Momo Medical is compliant to the GDPR, the European regulations for the use and protection of personal data. Momo Medical is certified for ISO 27001 and NEN 7510. Therefore, it is assumed that Momo’s data protection processes are also in line with the HIPAA | ISO 27001, NEN 7510, EN 60335-1:2012/AC:2014/A11:2014/A13:2017 EN 301 489-01 V2.2.3 EN 301 489-17 V3.2.4 EN 300 328 V2.1.1 | momomedical.com/privacy | NEN 7512 NEN 7513 | Available upon request
PointClickCare https://pointclickcare.com/ | None | N/A | Yes | Yes | All are met | N/A | Available upon request | Meets federal record retention requirements | Available upon request
RCare Nurse Call www.rcareinc.com/ | Listed | N/A | No | Yes | All are met. | UL 1069 Ed. 7, UL 2560 | Available upon request | N/A | Available upon request
RF Technologies CodeAlert www.rft.com | None | N/A | No | Yes | Based on System Configuration. | UL 294, U L1069, UL 2560 | Available upon request | N/A | Available upon request
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | None | N/A | No | Yes | All are met. | UL 2560, CSA C22.2, and UL 1069 | Available upon request |  | Available upon request
StepWatch www.modushealth.com | Listed | Class II, exempt | Yes | Yes | Based on System Configuration. | FDA, CFR 820, ISO 13485 | Available upon request | Can meet records retention requirements, FCC certified chip | Available upon request
Vigil Health Solutions Inc www.vigil.com | None | N/A | No | Yes | HIPAA | UL 1069, CSA-C22.2 No. 205-M1983 (R2004) | Available upon request | FCC, Industry Canada | Available upon request
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | None | N/A | Yes | Yes | N/A | N/A | N/A | N/A | N/A
Zemplee https://zemplee.com/ | Listed | Class I | No | No | All are met. | FDA, FCC UL | Available upon request | HIPAA BAA | Available upon request

## Hardware-Software Back End
Hardware and Software Requirements - Back End
Mobile
| Minimun Processor Speed, Hard Drive Storage, RAM requirements, if any applicable | Operating System (OS) - Windows | Operating System (OS) - Apple | Operating System (OS) - Unix/Linux | Network Specifications | Wireless Specifications | Supported by modern browers (CSS3/HTML5) | Minimum Internet/Bandwidth Specifications | Miscellaneous Software/Applets Needed (i.e. Citrix) | Miscellaneous Reporting Specifications (i.e. Crystal Reports) | Scalability | Local Model | 3rd-Party Hosted Model | Software as a Service Model (SaaS) | Remote Access | Off-Line Functionality Support | Ability to Store/Handle Attachments (Insurance card, Historical Notes, etc.) | Available for Purchase | Available for Lease | Cellular Carriers that Support Solution (Please List) | Mobile OS - Android | Mobile OS - Blackberry | Mobile OS - iOS | Mobile OS - Unix/Linux | Mobile OS - Windows | Mobile-Optimized Interface (through dedicated app. Mobile optimized web pages) | Notes
CarePredict www.carepredict.com | N/A | N/A | N/A | N/A | Internet Connectivity | WiFi | Yes | 1 Mbs | None | N/A | Yes | No | No | Yes | Yes | No | No | Yes | No | N/A | Yes | N/A | Yes | N/A | N/A | Yes | Web-Based Clinical Care Access.
Claris Healthcare, Inc. www.clarishealthcare.com | Agnostic | No | Yes | Yes | No | Internet Connectivity | 802.11 b/g/n | Yes | 10mbs (video) | None | None | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Multiple | Yes | No | Yes | No | Both | Yes
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | N/A | Yes | N/A | N/A | Internet Connectivity | 802.11 b/g/n | Yes | 1.5 Mbps | None | N/A | Yes | Yes | Yes | No | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes | Web based portal for analytics, reports, user management, and account access.
Kinesis Balance www.kinesishealthtech.com/balance | Agnostic | N/A | N/A | N/A | Internet Connectivity Needed for Online Mode. | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | No | Yes | No | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Smartphone app
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | Can use Dedicated Tablet | N/A | N/A | N/A | Internet Connectivity Needed for Online Mode. | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | No | Yes | No | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Dedicated Android Tablet Device Stores Data Streamed via Bluetooth from Sensors.
Kinesis QTUG www.kinesishealthtech.com/qtug | Can use Dedicated Tablet | N/A | N/A | N/A | Internet Connectivity Needed for Online Mode. | Bluetooth | N/A | N/A | N/A | N/A | Yes | Yes | No | Yes | No | Yes | N/A | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes | Dedicated Android Tablet Device Stores Data Streamed via Bluetooth from Sensors.
Momo Medical www.momomedical.com | N/A | Yes | Yes | Yes | Internet Connectivity | 802.11 b/g/n | Yes | 2 kbs | None | N/A | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Multiple | Yes | Yes | Yes | Yes | Yes | Yes | Native app for android and iOS. Webapp for all modern web browsers
PointClickCare https://pointclickcare.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | WiFi | Yes | Broadband | None | N/A | Yes | No | Yes | Yes | Yes | Yes | N/A | N/A | Yes | Agnostic | Yes | No | Yes | No | No | Yes | Web based clinical access
RCare Nurse Call www.rcareinc.com/ | Agnostic | Yes | Yes | Yes | Internet Connectivity | 802.11 b/g/n | Yes | 1 Mbs | None | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | Yes | Multiple | Yes | No | Yes | No | No | Yes
RF Technologies CodeAlert www.rft.com | Agnostic | Yes | No | No | Ethernet, Internet Optional | N/A | Yes | 100 Mbs/sec or higer | None | None | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | Agnostic | Yes | No | No | No | No | Yes
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | Proprietary | N/A | N/A | Yes | Internet Connectivity | N/A | N/A | 1Mbps | N/A | N/A | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Web-based clinical care access.
StepWatch www.modushealth.com | iPad, iPhone, Android | No | No | No | Internet Connectivity | Cellular, WiFi, Bluetooth | Yes | Basic connection | None | None | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Multiple | Yes | No | Yes | No | No | No | Web based clinical access
Vigil Health Solutions Inc www.vigil.com | As Supplied | Yes | No | Yes | Ethernet, Internet Optional | wifi, 802.15.4 | Yes | Internet optional | Citrix optional | Excel optional | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | N/A | Yes | No | Yes | No | No | Yes
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | Processor: 3GHz, Storage: 128 GB, RAM: 4 GB | Yes | No | No | Internet Connectivity | WiFi | Yes | Internet Connectivity | Samatra PDF,vlc media player | N/A | Yes | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Agnostic | Yes | No | Yes | No | No | Yes
Zemplee https://zemplee.com/ | Agnostic | N/A | N/A | N/A | Internet Connectivity | 802.11 b/g/n | Yes | 1 Mbps | none | none | Yes | No | Yes | Yes | Yes | N/A | Yes | N/A | N/A | All Major Carriers | Yes | Yes | Yes | Yes | Yes | Yes

## Cos. Experience
Company's Experience and Viability
| Number of Years in Business | Release Date of Current Version | Number of Users (Regardless of setting) | Core Customer Base, Focus of Line of Business | Link/s to Additional Case Study/ies
CarePredict www.carepredict.com | 9 | 2019-10-01 | Several Thousands | IL/ALF/Memory Care/CCRC/SNF; Homecare non-skilled, Homecare, B2C | Peer-reviewed studies: AI-Powered Digital Health platform and wearable devices improve outcomes for older adults in Assisted Living communities (https://pubmed.ncbi.nlm.nih.gov/32723711/) 2. Real-Time Digital contact Tracing:Development of a system to control Covid-19 outbreaks in nursing homes and long-term care facilities (https://pubmed.ncbi.nlm.nih.gov/32745013/)
Claris Healthcare, Inc. www.clarishealthcare.com | 10 | 2023-03-22 | 5000+ | Senior Care, RPM, Social Services, Homecare, Government | None
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | 23+ yrs | Frequent Releases; Agile Development Model | 4100+ senior living communities, also older adults living at home Over 100,000 Users Including Staff, Residents, and Family | Senior Living Communities -CCRC/LPC, SNF, AL/IL, Memory Care, Adult Day, Skilled Rehab, PACE, Home | Alzheimer's Association Project VITAL: A Florida Statewide Initiative Using Technology to Impact Social Isolation and Well-Being: https://www.frontiersin.org/articles/10.3389/fpubh.2021.720180/full Rehabilitation of persons with dementia: using technology to improve participation https://www.tandfonline.com/doi/full/10.1080/13607863.2020.1711864 Front Porch Case Study: http://fpciw.org/wp-content/uploads/sites/15/2016/06/IN2L-5-Month-Report-FINAL-061316-IN2L-APPROVED.pdf https://ourlifeloop.com/blog/case-studies
Kinesis Balance www.kinesishealthtech.com/balance | 10 | 2022-11-01 | Over 1,000 patient assessments | Older adult/Independent Living/Assisted living/Community Care/Rehabilitation | www.kinesishealthtech.com/research Futher case studies available upon request.
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | 10 | 2023-01-01 | Over 10,000 patient assessments | Research/Independent Living/Assisted living/Community Care/Rehabilitation | www.kinesishealthtech.com/research Futher case studies available upon request.
Kinesis QTUG www.kinesishealthtech.com/qtug | 10 | 2022-12-01 | Over 30,000 patient assessments | Research/Independent Living/Assisted living/Community Care/Rehabilitation | www.kinesishealthtech.com/research Futher case studies available upon request.
Momo Medical www.momomedical.com | 3 | Hardware July 2021 Software November 2023 | > 9000 BedSenses | Skilled Nursing, Assisted Living
PointClickCare https://pointclickcare.com/ | 19 | June 2019 | Available on request | Home care, Consumer Direct, Senrior Living, CCRC | www.pointclickcare.com/remotecare
RCare Nurse Call www.rcareinc.com/ | 15 | 2019-05-31 | Over 650 Communities/100,000 beds | Senior Living Communities, Varied | None
RF Technologies CodeAlert www.rft.com | 35 | 2018-06-01 | Over 5000 communities | Senior Living (IL, AL, SNF, Memory Care, CCRC, Adult Day Centers) | http://www.rft.com/Markets/Senior-Living
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | 38 years (E-call since 1980) | 2009 |  | Senior Living | None
StepWatch www.modushealth.com | StepWatch technology over 20 yrs Modus Health in business 7 yrs | 2018 | In 220 institutions around the world | Research, acute care, rehabilitation, skilled nursing, assisted living, CCRC | Upon Request
Vigil Health Solutions Inc www.vigil.com | 20 | 2018-05-01 | 600 sites/over 47,000 beds | CCRC, Assisted living, Independent Living, Skilled Nursing, Memory Care, palliative and Hospice | Upon Request
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | 9 |  | 400+ | Assisted Living, Independant Living, Skilled Nursing, Primary Care, Rehab | https://www.dropbox.com/s/qqch8kksaiwku4s/CMP%20VSTBalance%20Whitepaper.pdf?dl=0
Zemplee https://zemplee.com/ | 2 | 2021-04-01 |  | Home Care, CCRCs, ACO/MSO/ Physician Groups, PACE Programs, Other 3P Service Providers | Available upon request

## Strengths+
Strengths, Areas for Improvement, Ongoing Development and References
| Strengths | Areas for Improvement | Ongoing Development | References
CarePredict www.carepredict.com | • Wearable system that detects ADLs and tracks indoor location • No input from user; Medication & General reminders; • Functionality for care mangement | • Continue to enhance capabilities based on customer and market needs | •Detection of addiitonal ADLs. •Detection of precursors to specific disease states | References are generally part of the RFP process.
Claris Healthcare, Inc. www.clarishealthcare.com | Designed specifically for seniors Scalability Multiple care settings/use cases Reporting/Analytics | Continued innovation based on market needs | Machine learning & AI | References available upon customer request
iN2L+LifeLoop www.iN2L.com www.ourlifeloop.com | • Industry leader for 23+ years in engagement and social connection technology; purpose built for seniors and staff in 4100+ senior living communities and the home market. • All-inclusive platform senior living operational platform, providing integration with other key systems. • Proprietary searchable library of >6000 pieces of custom, curated, and licensed content specifically for seniors, available on device agnostic platform or optional large screen or tablet hardware. • Enhances effectiveness of activity professionals, direct care providers, therapists, and sales & marketing staff, and brings your community together with the help of technology, allowing you to connect residents with other residents and their families and meaningful content, while also empowering staff with a platform that makes their jobs more efficient and fulfilling. | • Increased integration capabilities (i.e. EHR, Telehealth) • Enterprise Analtyics/BI | • contact for details | Available upon request.
Kinesis Balance www.kinesishealthtech.com/balance | • Smartphone application for home monitoring of balance and falls risk • Objective Falls risk assessment/Fall prediction • Objective Assessment of balance • Identification of balance impairment by comparison with reference values • Integrated clinical fall risk factor questionnaire | • Additional EMR integrations • Data interoperability • iOS support • Data interoperability | • Automatic prescription of exercise and intervention for patient self-monitoring and tracking • API for two-way back-up and restore via Wi-Fi/cellular connection • Additional functional tests measured using the smartphone | Additional references available on request www.kinesishealthtech.com/research
Kinesis Gait www.kinesishealthtech.com/kinesis-gait | • Objective gait assessment • Identifcation of gait impairment by comparison with reference values • Supports multiple walking tasks: 6min walk, 25 foot walk etc | • Integration of BP data •API for two-way back-up and restore via Wi-Fi/cellular connection • Web-portal for reporting and data analysis | • Integration of BP data •API for two-way back-up and restore via Wi-Fi/cellular connection • Web-portal for reporting and data analysis | Additional references available on request www.kinesishealthtech.com/research
Kinesis QTUG www.kinesishealthtech.com/qtug | • Objective Falls risk assessment/Fall prediction • Objective Assessment of frailty • Identification of mobility impairment by comparison with reference values • Comprehensive mobility assessment • Integrated clinical fall risk factor questionnaire • Dashboard for data and user management Web-portal for reporting and data analysis | • Automatic prescription of exercise and intervention for patient self-monitoring and tracking • API for two-way back-up and restore via Wi-Fi/cellular connection | • Automatic prescription of exercise and intervention for patient self-monitoring and tracking • API for two-way back-up and restore via Wi-Fi/cellular connection • Unsupervised assessment of balance and falls risk at home | Additional references available on request www.kinesishealthtech.com/research
Momo Medical www.momomedical.com | * Falls and pressure ulcer prevention * Efficient workflow and time savings * Passive monitoring without bedside alarms * 6-month free trial | • Continue to enhance capabilities based on customer and market needs | * Add-ons such as smart incontinence, call bells, door sensors, motion sensors | Case studies by United Methodist Communities (NJ) and MPTF (CA)
PointClickCare https://pointclickcare.com/ | • Create personalized careplans to accommodate a wide range of health conditions • Prevents medication errors with simple scanning • Multi-user - makes it more economical to deploy compared to single user systems • Supports 4 categores of wireless health devices plus multiple gucometer models • Equally effective for people with DD/ID, TBI as well as age-related health conditions • System is deployed on cellular tablets and all back-end components are SaaS based making it very simple to rollout and use | • EHR Integration | • Reporting and analytics • Patient Educational videos | References are available upon request
RCare Nurse Call www.rcareinc.com/ | • Get data on caregiver activities and time • Customizable Reporting • Integrated with full-featured Nurse Call • RESTful web-based API for ease on integration | • EHR Integration Expansion • Enterprise metrics - dashboard and reporting across multiple facilities for an organization • UI Modernization • Internationalization | • Cellular Gateway Option • EHR Integration Expansion • Geoperimetering Pendant • HUD Housing Solutions • Disaster Recovery Solutions • UI Modernization • Internationalization | References are generally part of the RFP process.
RF Technologies CodeAlert www.rft.com | • Aesthetically pleasing devices • Multiple sensors; configurable alerting • Integrated nurse call, passive activity monitoring, fall prevention and wander management • Quality dashboard reporting | • Integration with 3rd party systems and EHRs | • Outdoor tracking capabilities • Automated tracking of ADL's and care planning | References are generally part of the RFP process.
Sentrics (Powered by Silversphere and Ciscor) www.sentrics.net | • Offers a 360-degree view of each resident • Offers integrated systems for e-call, engagement, and enrichment • RTLS tracking of residents, staff, and assets • REST API available for 3rd party integrations • Contact tracing • Geofencing and location management protocol • Rules engine • AI-based analytics and dashboard, predictive reporting | • Wander/Access control integration | • Learning management and content development with a direct focus on helping combat industry turn-over. • New reporting interfaces, gamification, and a focus on presenting positive reinforcement and information. • Ongoing system hardware and software development with a full team of in-house engineers. • Additional UL listings
StepWatch www.modushealth.com | • Only device that accurately detects steps in the most challanging gait • Provides objective outcome of walking function and RAC Audit protection • Efficient and easy to use mobility monitoring system for clinical care staff and patients • Reimbured by United healthcare, BCNS, DE Medicaid, and IBC using CPT 99091 | • Make smaller and improve appearance • Manufacture cheaper | • Continuely improving mobile apps and web interface to meet needs of customers • Major hospital partnerships for acute care and rehabilitation product | Over 400 peer-reviewed publications with StepWatch. Publications can be provided for specific applications upon request (https://modushealth.com/publications/).
Vigil Health Solutions Inc www.vigil.com | • Scalable system for any mix of elder care levels • CCRC indoor and outdoor coverage • Amazon Echo and Google Home integration • GPS SmartSole alerts and tracking • Cloud dashboard reporting and mobile app | • Family notification | • Advanced real time locating • Advanced behavioral analysis | As part of the sales process
VirtuSense Technologies, VSTBalance, https://virtusense.ai/vstbalance/ | • Automated gait, balance, and function assesments • Fall-risk assignment based on results and population norms • Automated reporting • Portable device • Objective metrics | Continue to enhance capabilities based on client needs and feedback | • New Assesments
Zemplee https://zemplee.com/ | ▪ Enables Aging-in-place giving peace of mind ▪ Simple, effortless, passive monitoring system ▪ Self Calibrating Behavioral Monitoring, tracks deterioration ▪ Early Warnings of Underlying Condition | Continue to enhance capabilities based on market needs | Edge Computing, Bio Marker sensors | Available upon request